## Slide 1
Project Bana
50 MW wind development project opportunity
9 October 2026

## Slide 2: EXECUTIVE SUMMARY
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
50 MW onshore wind development in Bana, Hungary
Total scores are the model's own across all tender criteria; only the commitments FEP offers are listed.
Source: Bana IC model, 9 Oct 2026.
GEI has been developing a wind project near the Huayou Cobalt factory in Bana, Hungary, with the primary objective of developing and building a behind-the-meter project. The project is close to RtB status (building permit for 6 turbines already obtained) and is currently for sale.
The opportunity is to buy the project, complete the development, build the wind farm and either sell at COD or hold the asset.
The recent tender offers a 50 MW grid connection opportunity at this location, while selling the energy directly to Huayou or nearby factories remains a valid option, on its own or in combination.
As GEI cannot participate in the tender, a share deal is not feasible. A transfer of rights process would allow FEP to participate in the forthcoming tender (30 October), with closing subject to FEP winning the tender. The transfer agreement would transfer all land, rights, permits, etc. to FEP to continue the development.
Dentons, the sell-side advisor, has prepared a legal DD report and a draft transfer agreement (attached).
Main considerations:
  The project is permitted with Chinese turbines (Goldwind); a change of turbine manufacturer would require building permit modifications (the process depends on the magnitude of the change, e.g. height difference).
  RtB has not yet been achieved: cable route permits are missing, there is no agreement yet with nearby Pér airport on flight path modification, and only 6 of the 9 available turbine positions are permitted.
  The earliest grid connection date under the recent tender is September 2030.
  An RtB exit may not be a valid scenario, as the seller is seeking a near-RtB price; value creation therefore comes from building and either selling at COD or holding to maturity (HTM).
  FEP is seeking approval on the purchase price and an opinion on whether to buy and develop the project.

## Slide 3: Risks and mitigants
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
Legal due diligence findings – no high risks; five medium and seven low
Ratings as assigned by Dentons; Info = for information only, not rated. Recommendations paraphrased from the report.
Source: Dentons, Project Bana Legal Due Diligence Report (draft, 9 October 2026).
Topic | Issue | Rating | Mitigant (DD recommendation)
Permitting and energy regulatory |  |  | 
Permit transfer | Building and withdrawal permits and the environmental resolution must move to the Project Company; the law is silent, but authorities have allowed it | Medium | Seller to prepare and file the transfer applications before Closing
Building permit validity | Permits lapse 2 years after becoming final (first: 15 Jul 2026); repeat 2-year extensions are unclear, while grid connection may slip to Sep 2032 | Medium | Apply for extensions in time so the permits stay valid until the actual grid connection
Withdrawal permits | Valid 4 years and not extendable; non-agricultural use must start by 2029–2030 or new permits are needed | Low | Track expiry dates and start site use within each validity period
Environmental resolution | Resolution assumes behind-the-meter supply with no grid feed-in; a tender award changes the activity | Low | Notify the environmental authority and confirm whether an amendment is needed
Airport flight procedures | Construction on 4 sites cannot start until Győr-Pér procedures are amended (agreement with ALTEO due Q4 2026, then ~9 months) | Low | Sign the tri-party agreement and complete the amendment ahead of construction
Turbine type | Permits specify Goldwind turbines up to 129 m hub height; a taller turbine may need an EIA, and the EU-manufacturer tender bonus is out of reach | Info | No DD recommendation; any turbine change needs a permit amendment
Real property |  |  | 
Tender land-right test | Land use agreements (ráépítési jog) do not formally meet the tender land-right rule; the bidder declares compliance under criminal liability | Medium | Before or at Signing, sign a preliminary building-right agreement on at least one plot (>1 ha), assigned to the Project Company at Closing; agree the list of plots needed
Land right transfer | Land use rights must be transferred and re-registered plot by plot (landowner consent already given) | Medium | Seller to prepare notices and transfer documents before Closing, effective at Closing
Landowner rescission | RtB milestone expires Mar 2027–Jul 2028 and completion Mar 2029–Jul 2031; RtB needs a grid connection agreement only available after the tender award | Medium | Extend the milestone deadlines in the land use agreements to fit the tender timeline before Closing
Adjacent plots | BN-05 and BN-08 agreements also cover plots 031/4 and 039/8, which the Project does not need | Low | Terminate and deregister those rights before Closing
Plot 07/9 | No right registered yet; plot division expected Dec 2026, final agreement due within 15 days | Low | Sign the final land use agreement and file for registration before Closing
Zoning | Plots 047/12 and 050 are not zoned for wind (amendment takes 4–7 months); county permit runs to 2031 (2032 if extended) | Low | Amend local regulations before the building permit applications; monitor county plan adoption
Municipal cooperation | Agreement expires 18 Oct 2027 unless construction starts; the seller intends to keep it | Low | Extend the term and widen the scope to plots 047/12 and 050

## Slide 4: Technical overview and tender bid
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
50 MW onshore wind at Ács Katódgyár – technical data and tender bid
Item | Assumption
Site and grid | 
Grid node | Ács Katódgyár (BAMO B 132.00)
Grid connection capacity | 50 MVA
Installed wind | 50 MW
Energy yield | 
Net P50 equivalent hours | 2,460 h (NCF 28.1%)
Curtailment / degradation | 2.0% / 0.3% p.a.
First full-year net generation | 120.5 GWh (2031)
Lifetime net generation | 3,466 GWh over 30 years
Timeline | 
Tender bid / award | 30-Oct-26 / 13-Dec-26
NTP / COD | 30-Sep-28 / 30-Sep-30
COD deadline (tender) | 30-Sep-32
Acquisition and development | 
Signing / purchase price | Estimated at €4.50m at signing (31-Jul-26)* TBD
Total scores are the model's own across all tender criteria; only the commitments FEP offers are listed.
Source: Bana IC model, 9 Oct 2026.
Tender bid | Commitment
Scored commitments | 
ÖSZ-1 One-off municipal contribution | 35 k€/MW (€1.75m)
ÖSZ-2 Annual community contribution | 2.5 €/MWh
ÖSZ-6 Performance security | 100% of minimum
Tender score | 
Total score – European turbine | 29 pts
Total score – Chinese turbine | 17 pts

## Slide 5: Funding to COD and what comes back
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
Capex, uses and sources, tender bonds and what is returned – European vs Chinese turbine (€m)
Construction capex (€m) | European | Chinese
Turbines (950 ¦ 500 k€/MW) | 47.50 | 25.00
Installation, foundations, BOP | 15.00 | 15.00
Owner's costs and land purchase | 2.75 | 2.75
Substation and grid bay | 12.00 | 10.80
Contingency | 3.86 | 2.68
Municipal contribution (35 k€/MW) | 1.75 | 1.75
Grid fee – direct | 1.26 | 1.26
Grid fee – indirect, net of TSO security | 6.89 | 6.89
Total capex | 91.02 | 66.13
Uses and sources to COD (€m) | European | Chinese
Development phase | 6.09 | 6.09
Purchase price to GEI (assumption) | 4.50 | 4.50
Due diligence | 0.15 | 0.15
Devex and land (budget €0.50m) | 0.49 | 0.49
Tender bonds and fees (TSO security, guarantee fees, participation fee) | 0.95 | 0.95
Construction capex | 91.02 | 66.13
Upfront and commitment fees | 1.44 | 0.87
Capitalised interest | 2.92 | 1.77
Land lease during construction | 0.29 | 0.29
Total uses | 101.75 | 75.15
Senior debt (gearing 60% ¦ 50%) | 57.53 | 34.83
FEP equity | 44.23 | 40.32
Total sources | 101.75 | 75.15
FEP peak exposure – sale at COD (30-Sep-30) | 44.23 | 40.32
FEP peak exposure – hold (end of 2030) | 46.13 | 40.50
Tender bonds and fees | Form | €m | What happens
Bid bond | Bank guarantee | 0.28 | Rolled into the performance bond
Performance bond | Bank guarantee | 1.11 | Released at COD, no cash
TSO connection-request security | Cash | 0.62 | Credited against the grid fee
Guarantee fees (6% p.a.) | Cash | 0.32 | Paid by FEP until COD
What comes back (€m) | European | Chinese
Sale: reimbursed on top of the sale price | 0.00 | 0.00
Bank guarantees released at COD – no cash | 1.39 | 1.39
Hold: debt service reserve funded in 2030 | 3.72 | 2.26
Hold: reserve released at the end of the debt | 2039–2040 | 2037–2038

## Slide 6: Returns: sale at COD vs hold to maturity
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
FEP returns by exit route and turbine – PPA 90 €/MWh for 10 years, then merchant
 |  | Sale at COD (30-Sep-30) |  | Hold to maturity | 
Metric | Unit | European | Chinese | European | Chinese
Lifetime project revenue | €m |  |  | 467.0 | 467.0
Average achieved price | €/MWh |  |  | 134.7 | 134.7
First full year (2031): revenue / EBITDA | €m |  |  | 11.0 / 8.3 | 11.0 / 8.3
Estimated sale price at COD (model input) | k€/MW ¦ €m | 2,450 ¦ 122.5 | 2,100 ¦ 105.0 | – | –
PPA strike / tenor | €/MWh / yrs | 90 / 10 | 90 / 10 | 90 / 10 | 90 / 10
FEP net profit (post-tax) | €m | 20.2 | 29.3 | 213.8 | 246.4
FEP IRR (post-tax) | % | 26.4% | 37.7% | 9.2% | 12.1%
FEP MOIC | x | 1.46x | 1.73x | 5.64x | 7.09x
FEP NPV | €m | 11.5 | 18.4 | 8.6 | 25.1
NPV / FEP equity | % | 32.2% | 56.3% | 23.1% | 76.5%
Minimum DSCR | x | – | – | 1.09x | 1.77x
LCOE | €/MWh | – | – | 106.1 | 86.5
Payback year | year | – | – | 2043 | 2041
Chart: FEP IRR post-tax (%)
| Sale at COD | Hold to maturity
European turbine | 0.26385 | 0.092421
Chinese turbine | 0.3767 | 0.12104
Grey italic: project operating figures after COD, which belong to the buyer on the sale-at-COD routes (reference only) – FEP's revenue on that route is the sale price. NPV at the model's discount rate. DSCR, LCOE and payback are not defined for the COD exit. Hold-to-maturity MOIC is undiscounted over the operating life. Sale bridge: the senior debt is repaid out of the price and the gain is tax-exempt; development costs, guarantee fees, the grid fee and the purchase price are not reimbursed separately.
Source: Bana IC model, 9 Oct 2026.
Sale at COD – bridge to net profit (€m) | European | Chinese
Sale price paid by the buyer | 122.50 | 105.00
Senior debt repaid (incl. capitalised interest) | (57.53) | (34.83)
Sale costs | (0.50) | (0.50)
Cash to FEP at COD | 64.47 | 69.67
Less FEP equity contributed to COD | (44.23) | (40.32)
FEP net profit | 20.25 | 29.35

## Slide 7: Sensitivity – FEP IRR
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
Change in FEP IRR vs base (percentage points) for −10% / +10% on each driver
Each driver is moved by −10% and +10% on its own, everything else at base; the model's integrity checks pass in every run.
SPV purchase price = price paid to the current owners (€4.5m). COD exit price = sale price per MW (2,450 k€/MW European, 2,100 k€/MW Chinese). Yield = P50 equivalent hours (2,460 h). Turbine price = 950 k€/MW European, 500 k€/MW Chinese.
Yield does not move the sale-at-COD cases: the sale price is fixed per MW and there is no operating revenue before the sale. The COD price does not affect hold to maturity. Bars sorted by swing; axis scale shared within each row.
Source: Bana IC model, 9 Oct 2026.
Chart: Sale at COD – European turbine · base IRR 26.4%
| Yield (P50 hours) – no effect | SPV purchase price | Turbine price | COD exit price
−10% input | 1.2955 | 6.3607 | -14.8654
+10% input | -1.2173 | -6.5487 | 12.4375
Chart: Sale at COD – Chinese turbine · base IRR 37.7%
| Yield (P50 hours) – no effect | SPV purchase price | Turbine price | COD exit price
−10% input | 1.6642 | 3.316 | -11.3891
+10% input | -1.5506 | -3.3533 | 9.867
Chart: Hold to maturity – European turbine · base IRR 9.2%
| COD exit price – no effect | SPV purchase price | Turbine price | Yield (P50 hours)
−10% input | 0.076622 | 0.55553 | -1.3393
+10% input | -0.075232 | -0.52032 | 1.2476
Chart: Hold to maturity – Chinese turbine · base IRR 12.1%
| COD exit price – no effect | SPV purchase price | Turbine price | Yield (P50 hours)
−10% input | 0.11927 | 0.40381 | -1.4143
+10% input | -0.11634 | -0.38566 | 1.338

## Slide 8: Sensitivity – FEP MOIC
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
Change in FEP MOIC vs base (x) for −10% / +10% on each driver
Each driver is moved by −10% and +10% on its own, everything else at base; the model's integrity checks pass in every run.
SPV purchase price = price paid to the current owners (€4.5m). COD exit price = sale price per MW (2,450 k€/MW European, 2,100 k€/MW Chinese). Yield = P50 equivalent hours (2,460 h). Turbine price = 950 k€/MW European, 500 k€/MW Chinese.
Yield does not move the sale-at-COD cases: the sale price is fixed per MW and there is no operating revenue before the sale. The COD price does not affect hold to maturity. Bars sorted by swing; axis scale shared within each row.
Source: Bana IC model, 9 Oct 2026.
Chart: Sale at COD – European turbine · base MOIC 1.46x
| Yield (P50 hours) – no effect | SPV purchase price | Turbine price | COD exit price
−10% input | 0.014984 | 0.14649 | -0.27697
+10% input | -0.014683 | -0.13337 | 0.27697
Chart: Sale at COD – Chinese turbine · base MOIC 1.73x
| Yield (P50 hours) – no effect | SPV purchase price | Turbine price | COD exit price
−10% input | 0.019502 | 0.095196 | -0.26042
+10% input | -0.019071 | -0.089041 | 0.26042
Chart: Hold to maturity – European turbine · base MOIC 5.64x
| COD exit price – no effect | SPV purchase price | Turbine price | Yield (P50 hours)
−10% input | 0.055515 | 0.38124 | -0.97387
+10% input | -0.054442 | -0.34489 | 0.88339
Chart: Hold to maturity – Chinese turbine · base MOIC 7.09x
| COD exit price – no effect | SPV purchase price | Turbine price | Yield (P50 hours)
−10% input | 0.079622 | 0.30177 | -0.99661
+10% input | -0.077871 | -0.28089 | 1.0093

## Slide 9: Sensitivity – all values
Executive summary
Risks and mitigants
Technical overview and tender bid
Funding to COD and what comes back
Returns: sale at COD vs hold
IRR sensitivity
MOIC sensitivity
Sensitivity table
FEP IRR and MOIC at −10% / base / +10% of each driver, by case
Driver | Base input | IRR −10% | IRR base | IRR +10% | MOIC −10% | MOIC base | MOIC +10%
Sale at COD – European turbine |  |  |  |  |  |  | 
COD exit price | 2,450 k€/MW | 11.5% | 26.4% | 38.8% | 1.18x | 1.46x | 1.73x
Turbine price | 950 k€/MW | 32.7% | 26.4% | 19.8% | 1.60x | 1.46x | 1.32x
SPV purchase price | €4.5m | 27.7% | 26.4% | 25.2% | 1.47x | 1.46x | 1.44x
Yield (P50 hours) – no effect | 2,460 h | 26.4% | 26.4% | 26.4% | 1.46x | 1.46x | 1.46x
Sale at COD – Chinese turbine |  |  |  |  |  |  | 
COD exit price | 2,100 k€/MW | 26.3% | 37.7% | 47.5% | 1.47x | 1.73x | 1.99x
Turbine price | 500 k€/MW | 41.0% | 37.7% | 34.3% | 1.82x | 1.73x | 1.64x
SPV purchase price | €4.5m | 39.3% | 37.7% | 36.1% | 1.75x | 1.73x | 1.71x
Yield (P50 hours) – no effect | 2,460 h | 37.7% | 37.7% | 37.7% | 1.73x | 1.73x | 1.73x
Hold to maturity – European turbine |  |  |  |  |  |  | 
Yield (P50 hours) | 2,460 h | 7.9% | 9.2% | 10.5% | 4.66x | 5.64x | 6.52x
Turbine price | 950 k€/MW | 9.8% | 9.2% | 8.7% | 6.02x | 5.64x | 5.29x
SPV purchase price | €4.5m | 9.3% | 9.2% | 9.2% | 5.69x | 5.64x | 5.58x
COD exit price – no effect | 2,450 k€/MW | 9.2% | 9.2% | 9.2% | 5.64x | 5.64x | 5.64x
Hold to maturity – Chinese turbine |  |  |  |  |  |  | 
Yield (P50 hours) | 2,460 h | 10.7% | 12.1% | 13.4% | 6.09x | 7.09x | 8.09x
Turbine price | 500 k€/MW | 12.5% | 12.1% | 11.7% | 7.39x | 7.09x | 6.80x
SPV purchase price | €4.5m | 12.2% | 12.1% | 12.0% | 7.17x | 7.09x | 7.01x
COD exit price – no effect | 2,100 k€/MW | 12.1% | 12.1% | 12.1% | 7.09x | 7.09x | 7.09x
Low / high = driver input −10% / +10%, everything else at base. COD exit price and turbine price are per MW, for the turbine of each case.
Source: Bana IC model, 9 Oct 2026.