## Dashboard
HU wind projects
| Master check (0 = OK; checks at the end of the detail) | flag |  |  |  | 0
x | Key inputs: the bids |  | Bora | Iváncsa | Dunaújváros | Total
| Net connection capacity | MVA | 50 | 50 | 50 | 150
| Overbuild (ÖSZ-3) | % | 20% | 40% | 40%
| BESS power, share of MVA (ÖSZ-4) | % | 10% | 20% | 20%
| BESS duration | h | 4 | 4 | 4
| Wind built below the bid | % | 10% | 10% | 10%
| Municipal one-off (ÖSZ-1), at COD | EUR k/MVA | 20 | 50 | 50
| Community contribution (ÖSZ-2) | EUR/MWh | 0 | 3 | 3
| Partial award accepted (ÖSZ-5) | flag | 1 | 1 | 1
| Performance security multiple (ÖSZ-6) | x | 1 | 1 | 1
| Brownfield site (ÖSZ-7) | flag | 0 | 0 | 0
| Shared connection (ÖSZ-8) | flag | 1 | 1 | 1
| Turbine route (EU or CN; EU scores ÖSZ-9) | text | CN | CN | CN
| RtB premium | EUR k/MVA | 150 | 150 | 150
| FEP share of distributable proceeds | % | 70% | 100% | 100%
| Developer success fee (DSA) on | flag | 1 | 0 | 0
| JV with a developer (1 = yes; claims and DSA apply) | flag | 1 | 0 | 0
| Net P50 hours (project wind study) | h/yr | 2500 | 2500 | 2500
x | Case: turbine price, PPA, yield, O&M |  | Base | Low | High | Live
| Case selected (Base, Low or High) | case |  |  |  | Base
| Turbine supply incl. transport, EU route | EUR k/MW | 850 | 950 | 800 | 850 | Bora Dashboard H8 / Inputs G162
| Turbine supply incl. transport, CN route | EUR k/MW | 500 | 600 | 480 | 500 | Bora Inputs H162
| PPA price in the COD year | EUR/MWh | 90 | 90 | 100 | 90 | Bora Dashboard H9
| Net P50 hours (not used: project P50 in row 22) | h/yr | 2400 | 2350 | 2500 | 2400 | Bora Dashboard H10
| O&M full-service contract | EUR k/MW/yr | 12 | 12 | 10 | 12 | Bora Dashboard H11
x | Bid points and capacity |  | Bora | Iváncsa | Dunaújváros | Total
| Points – municipal one-off | points | 4 | 20 | 20
| Points – community contribution | points | 0 | 15 | 15
| Points – overbuild | points | 5 | 9 | 9
| Points – BESS | points | 4.5 | 7.5 | 7.5
| Points – partial award | points | 5 | 5 | 5
| Points – performance security | points | 0 | 0 | 0
| Points – brownfield | points | 0 | 0 | 0
| Points – shared connection | points | 5 | 5 | 5
| Points – EU turbines | points | 0 | 0 | 0
| Points – EU transformers | points | 0 | 0 | 0
| Points total | points | 23.5 | 61.5 | 61.5
| Wind committed in the bid | MW | 60 | 70 | 70 | 200
| BESS energy | MWh | 20 | 40 | 40 | 100
| Wind built (committed less the build shortfall) | MW | 54 | 63 | 63 | 180
x | Guarantees, securities and connection fees, DEVEX (HUF) |  | Bora | Iváncsa | Dunaújváros | Total | Date
| Participation fee | HUF | 3000000 | 3000000 | 3000000 | 9000000 | 2026-10-30
| Bid security | HUF | 141800000 | 182100000 | 182100000 | 506000000 | 2026-10-30
| Performance security payable (bid security deducted) | HUF | 567200000 | 728400000 | 728400000 | 2024000000 | 2027-01-15
| TSO connection-request security | HUF | 225000000 | 225000000 | 225000000 | 675000000 | 2027-01-15
| Direct connection fee (per point ÷ bids sharing it) | HUF | 254172902 | 460000000 | 460000000 | 1174172902 | 2028-10-01
| Indirect connection fee, payable (TSO security deducted) | HUF | 3428565300 | 766334000 | 766334000 | 4961233300 | 2028-10-01
| DEVEX – development (devex items excl. land) | HUF | 255901067.9673 | 255901067.9673 | 255901067.9673 | 767703203.902 | 2027-11-23 02:59
| DEVEX – land (reservation and purchase) | HUF | 39347625 | 39347625 | 39347625 | 118042875 | 2028-05-04 04:15
| Signing fee and DD | HUF | 36500000 | 54750000 | 54750000 | 146000000 | 2026-07-31
| Total cash to RtB (incl. signing and DD) | HUF | 4951486894.9673 | 2714832692.9673 | 2714832692.9673 | 10381152280.902
x | Guarantees, securities and connection fees, DEVEX (EUR k) |  | Bora | Iváncsa | Dunaújváros | Total | Date
| Participation fee | EUR k | 8.2192 | 8.2192 | 8.2192 | 24.6575 | 2026-10-30
| Bid security | EUR k | 388.4932 | 498.9041 | 498.9041 | 1386.3014 | 2026-10-30
| Performance security payable (bid security deducted) | EUR k | 1553.9726 | 1995.6164 | 1995.6164 | 5545.2055 | 2027-01-15
| TSO connection-request security | EUR k | 616.4384 | 616.4384 | 616.4384 | 1849.3151 | 2027-01-15
| Direct connection fee (per point ÷ bids sharing it) | EUR k | 696.3641 | 1260.274 | 1260.274 | 3216.9121 | 2028-10-01
| Indirect connection fee, payable (TSO security deducted) | EUR k | 9393.3296 | 2099.5452 | 2099.5452 | 13592.42 | 2028-10-01
| DEVEX – development (devex items excl. land) | EUR k | 701.0988 | 701.0988 | 701.0988 | 2103.2964 | 2027-11-23 02:59
| DEVEX – land (reservation and purchase) | EUR k | 107.8017 | 107.8017 | 107.8017 | 323.4051 | 2028-05-04 04:15
| Signing fee and DD | EUR k | 100 | 150 | 150 | 400 | 2026-07-31
| Total cash to RtB (incl. signing and DD) | EUR k | 13565.7175 | 7437.8978 | 7437.8978 | 28441.5131
x | Cash to RtB by nature: sunk, returned, or borne by the buyer (EUR k) |  | Bora | Iváncsa | Dunaújváros | Total | Who bears it
| Sunk fees and devex (signing and DD, participation fee, land, development devex) | EUR k | 917.1197 | 967.1197 | 967.1197 | 2851.3591 | FEP – sunk; recovered only via the claims at the sale
| Securities, returned (bid, performance, TSO connection request) | EUR k | 2558.9041 | 3110.9589 | 3110.9589 | 8780.8219 | FEP – cash out, returned or reimbursed at the sale
| Grid connection fees (direct + indirect, payable at HCSSZ) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321 | Buyer at RtB; FEP pays only if no buyer is found
| Total cash to RtB (= total above) | EUR k | 13565.7175 | 7437.8978 | 7437.8978 | 28441.5131 | Case A: FEP pre-funds everything
| Grid connection fees, share of the total | % | 74.38% | 45.17% | 45.17% | 59.1%
| FEP exposure if the buyer pays the grid connection fees | EUR k | 3476.0238 | 4078.0786 | 4078.0786 | 11632.181 | Case B: FEP funds sunk fees, devex and securities only
x | Capex breakdown to COD |  | Bora | Iváncsa | Dunaújváros | Total
| Turbines (route price, live case) | EUR k | 27000 | 31500 | 31500 | 90000
| Installation and erection | EUR k | 4320 | 5040 | 5040 | 14400
| Foundations | EUR k | 4860 | 5670 | 5670 | 16200
| Balance of plant – civil | EUR k | 3780 | 4410 | 4410 | 12600
| Balance of plant – electrical | EUR k | 3240 | 3780 | 3780 | 10800
| Owner's costs, engineering, PM, construction insurance | EUR k | 2160 | 2520 | 2520 | 7200
| Land purchase and easements | EUR k | 0 | 0 | 0 | 0
| Substation and 132 kV bay (scaled by MVA) | EUR k | 3000 | 3000 | 3000 | 9000
| Contingency (not on BESS) | EUR k | 2418 | 2796 | 2796 | 8010
| BESS (on BESS energy) | EUR k | 2000 | 4000 | 4000 | 10000
| Construction capex | EUR k | 52778 | 62716 | 62716 | 178210
| Connection fees (TSO security, direct, indirect) | EUR k | 10706.1321 | 3976.2575 | 3976.2575 | 18658.6471
| TSO connection-request security (returned) | EUR k | 0 | 0 | 0 | 0
| Bid security (returned) | EUR k | 0 | 0 | 0 | 0
| Performance security: 0 (returned) | EUR k | 0 | 0 | 0 | 0
| Municipal one-off | EUR k | 1000 | 2500 | 2500 | 6000
| Land | EUR k | 107.8017 | 107.8017 | 107.8017 | 323.4051
| Developer premium paid for the RtB project (150 k€/MVA × MVA; replaces FEP's devex, which the buyer does not bear) | EUR k | 7500 | 7500 | 7500 | 22500
| All-in cost to COD for a buyer (securities excluded: returned) | EUR k | 72091.9338 | 76800.0592 | 76800.0592 | 225692.0523
| All-in cost per MW built | EUR k/MW | 1335.0358 | 1219.0486 | 1219.0486 | 1253.8447
| All-in cost per MVA | EUR k/MVA | 1441.8387 | 1536.0012 | 1536.0012 | 1504.6137
x | Devex breakdown (BORA_Devex 02-Oct-26 items × the scale; tender fee and securities above) |  | Bora | Iváncsa | Dunaújváros | Total
| Land | EUR k | 107.8017 | 107.8017 | 107.8017 | 323.4051
| Development devex (incl. contingency) | EUR k | 701.0988 | 701.0988 | 701.0988 | 2103.2964
| Devex total (= DEVEX lines above; devex items × scale) | EUR k | 808.9005 | 808.9005 | 808.9005 | 2426.7016
x | Returns RTB COD HTM |  | Bora | Iváncsa | Dunaújváros | Total
RTB exit, Case A: buyer pays the grid connection fees (FEP does not pre-fund)
| Grid connection fees paid by the buyer (not FEP cash) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321
| Total FEP cash out to RtB (peak exposure) | EUR k | 3391.6403 | 3993.695 | 3993.695 | 11379.0304
| Total proceeds to FEP at the sale | EUR k | 7865.2049 | 10406.2949 | 10406.2949 | 28677.7947
| FEP profit | EUR k | 4473.5647 | 6412.5998 | 6412.5998 | 17298.7643
| MOIC, pre-tax | x | 2.319 | 2.6057 | 2.6057 | 2.5202
| IRR, pre-tax | % | 68.39% | 78.99% | 78.99%
RTB exit, Case B: FEP pre-funds the grid connection fees, buyer reimburses them at the sale
| Total FEP cash out to RtB (peak exposure) | EUR k | 13565.7175 | 7437.8978 | 7437.8978 | 28441.5131
| Total proceeds to FEP at the sale | EUR k | 18298.073 | 13828.5798 | 13828.5798 | 45955.2326
| FEP profit | EUR k | 4732.3555 | 6390.682 | 6390.682 | 17513.7195
| MOIC, pre-tax | x | 1.3488 | 1.8592 | 1.8592 | 1.6158
| IRR, pre-tax | % | 23% | 36.98% | 36.98%
COD exit (as the RtB buyer: pays the RtB price, securities and fees at the Case B sale, builds, sells at COD)
| Construction capex | EUR k | 52778 | 62716 | 62716 | 178210
| Connection fees (direct, indirect; the TSO security is credited against the indirect fee) | EUR k | 10706.1321 | 3976.2575 | 3976.2575 | 18658.6471
| Municipal one-off | EUR k | 1000 | 2500 | 2500 | 6000
| Land | EUR k | 107.8017 | 107.8017 | 107.8017 | 323.4051
| Development devex: 0 (FEP's cost, replaced by the RtB premium paid at the sale) | EUR k | 0 | 0 | 0 | 0
| RtB premium paid to FEP at the sale (150 k€/MVA × MVA) | EUR k | 7500 | 7500 | 7500 | 22500
| Total costs to COD (= all-in cost to COD for a buyer) | EUR k | 72091.9338 | 76800.0592 | 76800.0592 | 225692.0523
| Sale price at COD | EUR k | 104654.6542 | 117317.0666 | 117317.0666 | 339288.7874
| Buyer profit (sale price at COD less the costs above) | EUR k | 32562.7205 | 40517.0074 | 40517.0074 | 113596.7352
| MOIC, pre-tax | x | 1.5442 | 1.663 | 1.663
| IRR, pre-tax | % | 31.37% | 39.48% | 39.48%
Hold to maturity (as the RtB buyer; EBITDA only, no debt, no tax)
| Total capex and costs to COD (= all-in cost to COD for a buyer) | EUR k | 72091.9338 | 76800.0592 | 76800.0592 | 225692.0523
| Total revenue over the life | EUR k | 382397.7306 | 446130.6857 | 446130.6857 | 1274659.1021
| Total opex over the life | EUR k | -101080.4692 | -130425.6976 | -130425.6976 | -361931.8644
| Total EBITDA over the life | EUR k | 281317.2615 | 315704.9881 | 315704.9881 | 912727.2377
| Project IRR, pre-tax | % | 11.26% | 11.99% | 11.99%
| NPV at the discount rate, at the first year end | EUR k | 19561.2549 | 25408.5414 | 25408.5414 | 70378.3376
x | Annual cash flow per project (EUR k) |  |  |  |  | Total
| Year | year |  |  |  |  | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061
Bora
| Spending (RtB purchase, capex, fees, securities), net | EUR k |  |  |  | -72091.9338 | 0 | 0 | 0 | -33450.8995 | -26389 | -14194.5 | 0 | 1942.4658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 382397.7306 | 0 | 0 | 0 | 0 | 0 | 5715.36 | 11545.0272 | 11625.496 | 11706.5257 | 11788.1202 | 11870.2834 | 11953.0193 | 12036.3318 | 12120.2251 | 12204.7031 | 12289.7698 | 12375.4295 | 12461.6863 | 12548.5442 | 12636.0076 | 12724.0806 | 12812.7674 | 12902.0724 | 12991.9998 | 13082.5541 | 13173.7395 | 13265.5604 | 13358.0214 | 13451.1268 | 13544.8811 | 13639.289 | 13734.3548 | 13830.0833 | 13926.4789 | 14023.5465 | 7060.6453
| Opex | EUR k |  |  |  | -101080.4692 | 0 | 0 | 0 | 0 | 0 | -1182.1418 | -2419.7815 | -2473.7927 | -2529.0775 | -2585.6667 | -2643.5914 | -2702.884 | -2763.5772 | -2825.7047 | -2889.3011 | -2954.4017 | -3021.0428 | -3089.2613 | -3159.0954 | -3230.5838 | -3303.7665 | -3378.6842 | -3455.3788 | -3533.893 | -3614.2708 | -3696.557 | -3780.7977 | -3867.04 | -3955.3322 | -4045.7237 | -4138.2651 | -4233.0083 | -4330.0065 | -4429.3141 | -4530.9868 | -2317.5409
| EBITDA | EUR k |  |  |  | 281317.2615 | 0 | 0 | 0 | 0 | 0 | 4533.2182 | 9125.2457 | 9151.7034 | 9177.4482 | 9202.4536 | 9226.692 | 9250.1353 | 9272.7547 | 9294.5204 | 9315.4019 | 9335.3681 | 9354.3868 | 9372.425 | 9389.4489 | 9405.4238 | 9420.3141 | 9434.0832 | 9446.6936 | 9458.1068 | 9468.2833 | 9477.1824 | 9484.7627 | 9490.9813 | 9495.7946 | 9499.1575 | 9501.0239 | 9501.3465 | 9500.0767 | 9497.1648 | 9492.5597 | 4743.1045
| Net cash flow | EUR k |  |  |  | 209225.3277 | 0 | 0 | 0 | -33450.8995 | -26389 | -9661.2818 | 9125.2457 | 11094.1691 | 9177.4482 | 9202.4536 | 9226.692 | 9250.1353 | 9272.7547 | 9294.5204 | 9315.4019 | 9335.3681 | 9354.3868 | 9372.425 | 9389.4489 | 9405.4238 | 9420.3141 | 9434.0832 | 9446.6936 | 9458.1068 | 9468.2833 | 9477.1824 | 9484.7627 | 9490.9813 | 9495.7946 | 9499.1575 | 9501.0239 | 9501.3465 | 9500.0767 | 9497.1648 | 9492.5597 | 4743.1045
| Cumulative net cash flow | EUR k |  |  |  |  | 0 | 0 | 0 | -33450.8995 | -59839.8995 | -69501.1814 | -60375.9357 | -49281.7665 | -40104.3183 | -30901.8648 | -21675.1728 | -12425.0375 | -3152.2828 | 6142.2376 | 15457.6396 | 24793.0077 | 34147.3944 | 43519.8194 | 52909.2682 | 62314.692 | 71735.0061 | 81169.0894 | 90615.783 | 100073.8898 | 109542.1731 | 119019.3555 | 128504.1182 | 137995.0995 | 147490.8941 | 156990.0516 | 166491.0755 | 175992.422 | 185492.4987 | 194989.6635 | 204482.2232 | 209225.3277
Iváncsa
| Spending (capex, fees, securities, devex), net | EUR k |  |  |  | -76800.0592 | 0 | 0 | 0 | -29757.5798 | -31358 | -18179 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 446130.6857 | 0 | 0 | 0 | 0 | 0 | 6667.92 | 13469.1984 | 13563.0787 | 13657.6134 | 13752.8069 | 13848.664 | 13945.1892 | 14042.3872 | 14140.2626 | 14238.8202 | 14338.0648 | 14438.0011 | 14538.634 | 14639.9683 | 14742.0088 | 14844.7606 | 14948.2286 | 15052.4178 | 15157.3331 | 15262.9797 | 15369.3627 | 15476.4872 | 15584.3583 | 15692.9813 | 15802.3613 | 15912.5038 | 16023.414 | 16135.0971 | 16247.5588 | 16360.8043 | 8237.4195
| Opex | EUR k |  |  |  | -130425.6976 | 0 | 0 | 0 | 0 | 0 | -1598.1482 | -3260.8799 | -3322.3912 | -3385.3882 | -3449.9066 | -3515.9828 | -3583.6541 | -3652.9589 | -3723.9362 | -3796.6263 | -3871.0702 | -3947.3101 | -4025.389 | -4105.3512 | -4187.2418 | -4271.1073 | -4356.995 | -4444.9537 | -4535.033 | -4627.284 | -4721.759 | -4818.5114 | -4917.596 | -5019.0691 | -5122.988 | -5229.4117 | -5338.4005 | -5450.0162 | -5564.3221 | -5681.3831 | -2900.6327
| EBITDA | EUR k |  |  |  | 315704.9881 | 0 | 0 | 0 | 0 | 0 | 5069.7718 | 10208.3185 | 10240.6876 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Net cash flow | EUR k |  |  |  | 238904.9289 | 0 | 0 | 0 | -29757.5798 | -31358 | -13109.2282 | 10208.3185 | 12735.2081 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Cumulative net cash flow | EUR k |  |  |  |  | 0 | 0 | 0 | -29757.5798 | -61115.5798 | -74224.808 | -64016.4895 | -51281.2814 | -41009.0562 | -30706.1558 | -20373.4746 | -10011.9395 | 377.4888 | 10793.8151 | 21236.0091 | 31703.0036 | 42193.6947 | 52706.9396 | 63241.5567 | 73796.3237 | 84369.977 | 94961.2106 | 105568.6747 | 116190.9748 | 126826.6705 | 137474.2743 | 148132.25 | 158799.0123 | 169472.9245 | 180152.2978 | 190835.3899 | 201520.4033 | 212205.4842 | 222888.7208 | 233568.142 | 238904.9289
Dunaújváros
| Spending (capex, fees, securities, devex), net | EUR k |  |  |  | -76800.0592 | 0 | 0 | 0 | -29757.5798 | -31358 | -18179 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 446130.6857 | 0 | 0 | 0 | 0 | 0 | 6667.92 | 13469.1984 | 13563.0787 | 13657.6134 | 13752.8069 | 13848.664 | 13945.1892 | 14042.3872 | 14140.2626 | 14238.8202 | 14338.0648 | 14438.0011 | 14538.634 | 14639.9683 | 14742.0088 | 14844.7606 | 14948.2286 | 15052.4178 | 15157.3331 | 15262.9797 | 15369.3627 | 15476.4872 | 15584.3583 | 15692.9813 | 15802.3613 | 15912.5038 | 16023.414 | 16135.0971 | 16247.5588 | 16360.8043 | 8237.4195
| Opex | EUR k |  |  |  | -130425.6976 | 0 | 0 | 0 | 0 | 0 | -1598.1482 | -3260.8799 | -3322.3912 | -3385.3882 | -3449.9066 | -3515.9828 | -3583.6541 | -3652.9589 | -3723.9362 | -3796.6263 | -3871.0702 | -3947.3101 | -4025.389 | -4105.3512 | -4187.2418 | -4271.1073 | -4356.995 | -4444.9537 | -4535.033 | -4627.284 | -4721.759 | -4818.5114 | -4917.596 | -5019.0691 | -5122.988 | -5229.4117 | -5338.4005 | -5450.0162 | -5564.3221 | -5681.3831 | -2900.6327
| EBITDA | EUR k |  |  |  | 315704.9881 | 0 | 0 | 0 | 0 | 0 | 5069.7718 | 10208.3185 | 10240.6876 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Net cash flow | EUR k |  |  |  | 238904.9289 | 0 | 0 | 0 | -29757.5798 | -31358 | -13109.2282 | 10208.3185 | 12735.2081 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Cumulative net cash flow | EUR k |  |  |  |  | 0 | 0 | 0 | -29757.5798 | -61115.5798 | -74224.808 | -64016.4895 | -51281.2814 | -41009.0562 | -30706.1558 | -20373.4746 | -10011.9395 | 377.4888 | 10793.8151 | 21236.0091 | 31703.0036 | 42193.6947 | 52706.9396 | 63241.5567 | 73796.3237 | 84369.977 | 94961.2106 | 105568.6747 | 116190.9748 | 126826.6705 | 137474.2743 | 148132.25 | 158799.0123 | 169472.9245 | 180152.2978 | 190835.3899 | 201520.4033 | 212205.4842 | 222888.7208 | 233568.142 | 238904.9289
x | Detailed calculations: claims, waterfall, dated flows, timelines, checks – expand the group |  | Bora | Iváncsa | Dunaújváros | Total
x | RtB exit, Case B: FEP claims at the sale (interest to the freeze, act/365, capitalised 31-Dec) |  | Bora | Iváncsa | Dunaújváros | Total
| Interest accrual end (earlier of freeze and sale) | date | 2029-06-30 | 2029-06-30 | 2029-06-30
| Accrual factor in the end year, cash rate | x | 1.0595 | 1.0595 | 1.0595
| Accrual factor in the end year, devex rate | x | 1.0992 | 1.0992 | 1.0992
| Days to the first 31-Dec from bid submission | days | 63 | 63 | 63
| Accrual factor from bid submission | x | 1.3566 | 1.3566 | 1.3566
| Days to the first 31-Dec from performance security posting | days | 351 | 351 | 351
| Accrual factor from performance security posting | x | 1.3236 | 1.3236 | 1.3236
| Days to the first 31-Dec from TSO security payment | days | 351 | 351 | 351
| Accrual factor from TSO security payment | x | 1.3236 | 1.3236 | 1.3236
| Days to the first 31-Dec from connection agreement (HCSSZ) | days | 92 | 92 | 92
| Accrual factor from connection agreement (HCSSZ) | x | 1.0916 | 1.0916 | 1.0916
| Days to the first 31-Dec from land payment (amount-weighted) | days | 241.8231 | 241.8231 | 241.8231
| Accrual factor from land payment (amount-weighted) | x | 1.2448 | 1.2448 | 1.2448
| Days to the first 31-Dec from development devex payment (amount-weighted) | days | 38.8757 | 38.8757 | 38.8757
| Accrual factor from development devex payment (amount-weighted) | x | 1.3471 | 1.3471 | 1.3471
| Claim on FEP's shareholder loan (JV only): participation fee (not reimbursed) | EUR k | 2.9307 | 0 | 0 | 2.9307
| Claim on FEP's shareholder loan (JV only): bid security (cash) | EUR k | 138.5262 | 0 | 0 | 138.5262
| Claim on FEP's shareholder loan (JV only): performance security payable (cash) | EUR k | 502.84 | 0 | 0 | 502.84
| Claim on FEP's shareholder loan (JV only): TSO connection-request security | EUR k | 199.4693 | 0 | 0 | 199.4693
| Claim on FEP's shareholder loan (JV only): direct connection fee | EUR k | 63.7544 | 0 | 0 | 63.7544
| Claim on FEP's shareholder loan (JV only): indirect connection fee, payable | EUR k | 859.9904 | 0 | 0 | 859.9904
| Claim on FEP's shareholder loan (JV only): land, MAX(20 % accrued, 1× principal) | EUR k | 107.8017 | 0 | 0 | 107.8017
| Claim on FEP's shareholder loan (JV only): development devex, MAX(20 % accrued, 1× principal) | EUR k | 701.0988 | 0 | 0 | 701.0988
| Total FEP claims on its shareholder loans (JV only) | EUR k | 2576.4115 | 0 | 0 | 2576.4115
| Developer success fee due (DSA, capped) | EUR k | 437.5 | 0 | 0 | 437.5
x | RtB exit, Case A: buyer pays the grid connection fees directly (FEP does not pre-fund them) |  | Bora | Iváncsa | Dunaújváros | Total
| Grid connection fees paid by the buyer at HCSSZ (direct + indirect, payable) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321
| Case A devex – land: items paid by sale A (devex file, unscaled) | HUF | 66190500 | 66190500 | 66190500
| Case A devex – land: amount-weighted payment date | date | 2027-02-13 | 2027-02-13 | 2027-02-13
| Case A devex – land (× scale) | EUR k | 45.336 | 45.336 | 45.336 | 136.0079
| Case A devex – development: items paid by sale A (devex file, unscaled) | HUF | 991604271.8694 | 991604271.8694 | 991604271.8694
| Case A devex – development: amount-weighted payment date | date | 2027-11-10 13:25 | 2027-11-10 13:25 | 2027-11-10 13:25
| Case A devex – development (× scale) | EUR k | 679.181 | 679.181 | 679.181 | 2037.543
| FEP cash out to RtB, Case A (peak exposure) | EUR k | 3391.6403 | 3993.695 | 3993.695 | 11379.0304
| Case A: interest accrual end (earlier of freeze and sale A) | date | 2028-09-30 | 2028-09-30 | 2028-09-30
| Case A: start of the accrual end year | date | 2028-01-01 | 2028-01-01 | 2028-01-01
| Case A, from bid submission: factor in the payment year (if before the end year) | x | 1.0207 | 1.0207 | 1.0207
| Case A, from bid submission: factor in the end year (to the accrual end) | x | 1.0901 | 1.0901 | 1.0901
| Case A, from bid submission: accrual factor | x | 1.2462 | 1.2462 | 1.2462
| Case A, from performance security posting: factor in the payment year (if before the end year) | x | 1.1154 | 1.1154 | 1.1154
| Case A, from performance security posting: factor in the end year (to the accrual end) | x | 1.0901 | 1.0901 | 1.0901
| Case A, from performance security posting: accrual factor | x | 1.2159 | 1.2159 | 1.2159
| Case A, from TSO security payment: factor in the payment year (if before the end year) | x | 1.1154 | 1.1154 | 1.1154
| Case A, from TSO security payment: factor in the end year (to the accrual end) | x | 1.0901 | 1.0901 | 1.0901
| Case A, from TSO security payment: accrual factor | x | 1.2159 | 1.2159 | 1.2159
| Case A, from land payment (amount-weighted): factor in the payment year (if before the end year) | x | 1.1764 | 1.1764 | 1.1764
| Case A, from land payment (amount-weighted): factor in the end year (to the accrual end) | x | 1.1501 | 1.1501 | 1.1501
| Case A, from land payment (amount-weighted): accrual factor | x | 1.3531 | 1.3531 | 1.3531
| Case A, from development devex payment (amount-weighted): factor in the payment year (if before the end year) | x | 1.0282 | 1.0282 | 1.0282
| Case A, from development devex payment (amount-weighted): factor in the end year (to the accrual end) | x | 1.1501 | 1.1501 | 1.1501
| Case A, from development devex payment (amount-weighted): accrual factor | x | 1.1826 | 1.1826 | 1.1826
| Case A: claim on FEP's shareholder loan (JV only): participation fee (not reimbursed) | EUR k | 2.0234 | 0 | 0 | 2.0234
| Case A: claim on FEP's shareholder loan (JV only): bid security (cash) | EUR k | 95.6391 | 0 | 0 | 95.6391
| Case A: claim on FEP's shareholder loan (JV only): performance security payable (cash) | EUR k | 335.4634 | 0 | 0 | 335.4634
| Case A: claim on FEP's shareholder loan (JV only): TSO connection-request security | EUR k | 133.0734 | 0 | 0 | 133.0734
| Case A: claim on FEP's shareholder loan (JV only): land, MAX(20 % accrued, 1× principal) | EUR k | 45.336 | 0 | 0 | 45.336
| Case A: claim on FEP's shareholder loan (JV only): development devex, MAX(20 % accrued, 1× principal) | EUR k | 679.181 | 0 | 0 | 679.181
| Total FEP claims on its shareholder loans, Case A (JV only; no connection-fee claims) | EUR k | 1290.7162 | 0 | 0 | 1290.7162
| Case A: developer success fee due (DSA to sale A, capped) | EUR k | 287.5 | 0 | 0 | 287.5
Waterfall at the sale, Case A
| RtB premium | EUR k | 7500 | 7500 | 7500 | 22500
| Buyer reimburses securities at cost (no connection fees to reimburse) | EUR k | 2558.9041 | 3110.9589 | 3110.9589 | 8780.8219
| Buyer pays the land at cost (on top of the premium) | EUR k | 45.336 | 45.336 | 45.336 | 136.0079
| Total proceeds | EUR k | 10104.2401 | 10656.2949 | 10656.2949 | 31416.8298
| Less sale costs | EUR k | -250 | -250 | -250 | -750
| Less securities repaid to FEP | EUR k | -2558.9041 | -3110.9589 | -3110.9589 | -8780.8219
| Less land repaid to FEP at cost | EUR k | -45.336 | -45.336 | -45.336 | -136.0079
| Less FEP claims at 12 % on FEP's shareholder loan (JV only) | EUR k | -566.1993 | 0 | 0 | -566.1993
| Less FEP land and devex return on FEP's shareholder loan (JV only) | EUR k | -724.517 | 0 | 0 | -724.517
| Less developer success fee (DSA) | EUR k | -287.5 | 0 | 0 | -287.5
| Distributable proceeds | EUR k | 5671.7838 | 7250 | 7250 | 20171.7838
| FEP share of distributable | EUR k | 3970.2486 | 7250 | 7250 | 18470.2486
| Developer share of distributable | EUR k | 1701.5351 | 0 | 0 | 1701.5351
| FEP profit, Case A (at sale A): what the buyer pays, less deductions |  | Bora | Iváncsa | Dunaújváros | Total | 2026: Date: Bora; 2027: Iváncsa; 2028: Dunaújváros
| RtB premium paid by the buyer (150 k EUR/MVA × MVA) | EUR k | 7500 | 7500 | 7500 | 22500
| Land: 0 (bought by the RtB buyer at cost; FEP's land outlay is repaid, not deducted) | EUR k | 0 | 0 | 0 | 0
| Bid security: 0 (paid back to FEP at the sale) | EUR k | 0 | 0 | 0 | 0
| Performance security: 0 (paid back to FEP at the sale) | EUR k | 0 | 0 | 0 | 0
| Less: sale costs | EUR k | -250 | -250 | -250 | -750
| Less: developer success fee (DSA) | EUR k | -287.5 | 0 | 0 | -287.5
| Less: developer share of distributable proceeds | EUR k | -1701.5351 | 0 | 0 | -1701.5351
| FEP claims at 12 % on FEP's shareholder loan (interest, JV only) | EUR k | 566.1993 | 0 | 0 | 566.1993
| FEP land and devex return on FEP's shareholder loan (JV only) | EUR k | 724.517 | 0 | 0 | 724.517
| FEP share of distributable proceeds | EUR k | 3970.2486 | 7250 | 7250 | 18470.2486
| FEP receipts at sale A (claims + return + FEP share) | EUR k | 5260.9649 | 7250 | 7250 | 19760.9649
| Less: signing fee and DD, Exit fees | EUR k | -100 | -150 | -150 | -400
| Less: participation fee (not reimbursed) | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575
| Less: development devex | EUR k | -679.181 | -679.181 | -679.181 | -2037.543
| FEP profit, pre-tax | EUR k | 4473.5647 | 6412.5998 | 6412.5998 | 17298.7643
| CIT on the exit gain (0 while the participation exemption flag is on) | EUR k | 0 | 0 | 0 | 0
| FEP profit, post-tax | EUR k | 4473.5647 | 6412.5998 | 6412.5998 | 17298.7643
| MOIC, pre-tax (dated cash flows below) | x | 2.319 | 2.6057 | 2.6057 | 2.5202
| IRR, pre-tax (dated cash flows below) | % | 68.39% | 78.99% | 78.99%
| Memo: pre-tax profit vs Case B (connection-fee claims no longer earned, FEP share) | EUR k | -258.7908 | 21.9178 | 21.9178 | -214.9552
| Memo: FEP dated cash flows, Case A, for MOIC and IRR (securities are paid and repaid at cost: net zero, excluded from the profit above) | [5 empty] | 2026: Date: Bora; 2027: Iváncsa; 2028: Dunaújváros
| Signing fee and DD | EUR k | -100 | -150 | -150 | -400 | 2026: 2026-07-31; 2027: 2026-07-31; 2028: 2026-07-31
| Participation fee | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Bid security | EUR k | -388.4932 | -498.9041 | -498.9041 | -1386.3014 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Performance security payable | EUR k | -1553.9726 | -1995.6164 | -1995.6164 | -5545.2055 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| TSO connection-request security | EUR k | -616.4384 | -616.4384 | -616.4384 | -1849.3151 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| Land | EUR k | -45.336 | -45.336 | -45.336 | -136.0079 | 2026: 2027-02-13; 2027: 2027-02-13; 2028: 2027-02-13
| Development devex | EUR k | -679.181 | -679.181 | -679.181 | -2037.543 | 2026: 2027-11-10 13:25; 2027: 2027-11-10 13:25; 2028: 2027-11-10 13:25
| FEP receipts at sale A (receipts above + securities and land repaid) | EUR k | 7865.2049 | 10406.2949 | 10406.2949 | 28677.7947 | 2026: 2028-09-30; 2027: 2028-09-30; 2028: 2028-09-30
x | RtB exit, Case B: waterfall at the sale |  | Bora | Iváncsa | Dunaújváros | Total
| RtB premium | EUR k | 7500 | 7500 | 7500 | 22500
| Buyer reimburses securities and connection fees at cost | EUR k | 12648.5978 | 6470.7781 | 6470.7781 | 25590.154
| Buyer pays the land at cost (on top of the premium) | EUR k | 107.8017 | 107.8017 | 107.8017 | 323.4051
| Total proceeds | EUR k | 20256.3995 | 14078.5798 | 14078.5798 | 48413.5591
| Less sale costs | EUR k | -250 | -250 | -250 | -750
| Less securities and fees repaid to FEP | EUR k | -12648.5978 | -6470.7781 | -6470.7781 | -25590.154
| Less land repaid to FEP at cost | EUR k | -107.8017 | -107.8017 | -107.8017 | -323.4051
| Less FEP claims at 12 % on FEP's shareholder loan (JV only) | EUR k | -1767.511 | 0 | 0 | -1767.511
| Less FEP land and devex return on FEP's shareholder loan (JV only) | EUR k | -808.9005 | 0 | 0 | -808.9005
| Less developer success fee (DSA) | EUR k | -437.5 | 0 | 0 | -437.5
| Distributable proceeds | EUR k | 4236.0885 | 7250 | 7250 | 18736.0885
| FEP share of distributable | EUR k | 2965.2619 | 7250 | 7250 | 17465.2619
| Developer share of distributable | EUR k | 1270.8265 | 0 | 0 | 1270.8265
| FEP profit, Case B (at the sale): what the buyer pays, less deductions |  | Bora | Iváncsa | Dunaújváros | Total | bar: 2026 to 2028
| RtB premium paid by the buyer (150 k EUR/MVA × MVA) | EUR k | 7500 | 7500 | 7500 | 22500
| Land: 0 (bought by the RtB buyer at cost; FEP's land outlay is repaid, not deducted) | EUR k | 0 | 0 | 0 | 0
| Bid security: 0 (paid back to FEP at the sale) | EUR k | 0 | 0 | 0 | 0
| Performance security: 0 (paid back to FEP at the sale) | EUR k | 0 | 0 | 0 | 0
| Less: sale costs | EUR k | -250 | -250 | -250 | -750
| Less: developer success fee (DSA) | EUR k | -437.5 | 0 | 0 | -437.5
| Less: developer share of distributable proceeds | EUR k | -1270.8265 | 0 | 0 | -1270.8265
| FEP claims at 12 % on FEP's shareholder loan (interest, JV only) | EUR k | 1767.511 | 0 | 0 | 1767.511
| FEP land and devex return on FEP's shareholder loan (JV only) | EUR k | 808.9005 | 0 | 0 | 808.9005
| FEP share of distributable proceeds | EUR k | 2965.2619 | 7250 | 7250 | 17465.2619
| FEP receipts at the sale (claims + return + FEP share) | EUR k | 5541.6735 | 7250 | 7250 | 20041.6735
| Less: signing fee and DD, Exit fees | EUR k | -100 | -150 | -150 | -400
| Less: participation fee (not reimbursed) | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575
| Less: development devex | EUR k | -701.0988 | -701.0988 | -701.0988 | -2103.2964
| FEP profit, pre-tax | EUR k | 4732.3555 | 6390.682 | 6390.682 | 17513.7195
| CIT on the exit gain (0 while the participation exemption flag is on) | EUR k | 0 | 0 | 0 | 0
| FEP profit, post-tax | EUR k | 4732.3555 | 6390.682 | 6390.682 | 17513.7195
| MOIC, pre-tax (dated cash flows below) | x | 1.3488 | 1.8592 | 1.8592 | 1.6158
| IRR, pre-tax (dated cash flows below) | % | 23% | 36.98% | 36.98%
| Memo: FEP dated cash flows, Case B, for MOIC and IRR (securities and connection fees are paid and repaid at cost: net zero, excluded from the profit above) | [5 empty] | 2026: Date: Bora; 2027: Iváncsa; 2028: Dunaújváros
| Signing fee and DD | EUR k | -100 | -150 | -150 | -400 | 2026: 2026-07-31; 2027: 2026-07-31; 2028: 2026-07-31
| Participation fee | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Bid security | EUR k | -388.4932 | -498.9041 | -498.9041 | -1386.3014 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Performance security payable | EUR k | -1553.9726 | -1995.6164 | -1995.6164 | -5545.2055 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| TSO connection-request security | EUR k | -616.4384 | -616.4384 | -616.4384 | -1849.3151 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| Direct connection fee | EUR k | -696.3641 | -1260.274 | -1260.274 | -3216.9121 | 2026: 2028-10-01; 2027: 2028-10-01; 2028: 2028-10-01
| Indirect connection fee, payable | EUR k | -9393.3296 | -2099.5452 | -2099.5452 | -13592.42 | 2026: 2028-10-01; 2027: 2028-10-01; 2028: 2028-10-01
| Land | EUR k | -107.8017 | -107.8017 | -107.8017 | -323.4051 | 2026: 2028-05-04 04:15; 2027: 2028-05-04 04:15; 2028: 2028-05-04 04:15
| Development devex | EUR k | -701.0988 | -701.0988 | -701.0988 | -2103.2964 | 2026: 2027-11-23 02:59; 2027: 2027-11-23 02:59; 2028: 2027-11-23 02:59
| FEP receipts at the sale (receipts above + securities, fees and land repaid) | EUR k | 18298.073 | 13828.5798 | 13828.5798 | 45955.2326 | 2026: 2029-09-30; 2027: 2029-09-30; 2028: 2029-09-30
x | Annual timeline |  |  |  |  | Total
| Year | year |  |  |  |  | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061
| Year end | date |  |  |  |  | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31 | 2032-12-31 | 2033-12-31 | 2034-12-31 | 2035-12-31 | 2036-12-31 | 2037-12-31 | 2038-12-31 | 2039-12-31 | 2040-12-31 | 2041-12-31 | 2042-12-31 | 2043-12-31 | 2044-12-31 | 2045-12-31 | 2046-12-31 | 2047-12-31 | 2048-12-31 | 2049-12-31 | 2050-12-31 | 2051-12-31 | 2052-12-31 | 2053-12-31 | 2054-12-31 | 2055-12-31 | 2056-12-31 | 2057-12-31 | 2058-12-31 | 2059-12-31 | 2060-12-31 | 2061-12-31
x | Bora: annual cash flow (EUR k) |  | Value |  |  | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months | 24 |  |  |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months | 360 |  |  |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Buyer pays at the Case B sale: RtB premium, land at cost, securities and connection fees reimbursed to FEP | EUR k |  |  |  | -20256.3995 | 0 | 0 | 0 | -20256.3995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 1942.4658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1942.4658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -52778 | 0 | 0 | 0 | -13194.5 | -26389 | -13194.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -1000 | 0 | 0 | 0 | 0 | 0 | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -72091.9338 | 0 | 0 | 0 | -33450.8995 | -26389 | -14194.5 | 0 | 1942.4658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 3654.3419 | 0 | 0 | 0 | 0 | 0 | 63.504 | 127.008 | 126.627 | 126.2471 | 125.8684 | 125.4907 | 125.1143 | 124.7389 | 124.3647 | 123.9916 | 123.6196 | 123.2488 | 122.879 | 122.5104 | 122.1429 | 121.7764 | 121.4111 | 121.0469 | 120.6837 | 120.3217 | 119.9607 | 119.6008 | 119.242 | 118.8843 | 118.5277 | 118.1721 | 117.8176 | 117.4641 | 117.1117 | 116.7604 | 58.2051
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 382397.7306 | 0 | 0 | 0 | 0 | 0 | 5715.36 | 11545.0272 | 11625.496 | 11706.5257 | 11788.1202 | 11870.2834 | 11953.0193 | 12036.3318 | 12120.2251 | 12204.7031 | 12289.7698 | 12375.4295 | 12461.6863 | 12548.5442 | 12636.0076 | 12724.0806 | 12812.7674 | 12902.0724 | 12991.9998 | 13082.5541 | 13173.7395 | 13265.5604 | 13358.0214 | 13451.1268 | 13544.8811 | 13639.289 | 13734.3548 | 13830.0833 | 13926.4789 | 14023.5465 | 7060.6453
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -60009.5074 | 0 | 0 | 0 | 0 | 0 | -675 | -1383.75 | -1418.3438 | -1453.8023 | -1490.1474 | -1527.4011 | -1565.5861 | -1604.7258 | -1644.8439 | -1685.965 | -1728.1141 | -1771.317 | -1815.5999 | -1860.9899 | -1907.5147 | -1955.2025 | -2004.0826 | -2054.1847 | -2105.5393 | -2158.1778 | -2212.1322 | -2267.4355 | -2324.1214 | -2382.2244 | -2441.78 | -2502.8245 | -2565.3951 | -2629.53 | -2695.2683 | -2762.65 | -1415.8581
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -26924.5113 | 0 | 0 | 0 | 0 | 0 | -317.52 | -650.916 | -665.1873 | -679.7716 | -694.6756 | -709.9063 | -725.471 | -741.377 | -757.6317 | -774.2427 | -791.218 | -808.5655 | -826.2933 | -844.4097 | -862.9234 | -881.843 | -901.1774 | -920.9357 | -941.1273 | -961.7615 | -982.8481 | -1004.397 | -1026.4184 | -1048.9227 | -1071.9203 | -1095.4221 | -1119.4393 | -1143.983 | -1169.0648 | -1194.6966 | -610.4451
| MEKH supervisory fee | EUR k |  |  |  | -382.3977 | 0 | 0 | 0 | 0 | 0 | -5.7154 | -11.545 | -11.6255 | -11.7065 | -11.7881 | -11.8703 | -11.953 | -12.0363 | -12.1202 | -12.2047 | -12.2898 | -12.3754 | -12.4617 | -12.5485 | -12.636 | -12.7241 | -12.8128 | -12.9021 | -12.992 | -13.0826 | -13.1737 | -13.2656 | -13.358 | -13.4511 | -13.5449 | -13.6393 | -13.7344 | -13.8301 | -13.9265 | -14.0235 | -7.0606
| Opex contingency | EUR k |  |  |  | -4449.1674 | 0 | 0 | 0 | 0 | 0 | -50.8493 | -104.2324 | -106.7278 | -109.2832 | -111.9002 | -114.5803 | -117.3249 | -120.1357 | -123.0143 | -125.9622 | -128.9813 | -132.0731 | -135.2394 | -138.4821 | -141.803 | -145.204 | -148.6871 | -152.2542 | -155.9073 | -159.6486 | -163.4801 | -167.4041 | -171.4228 | -175.5386 | -179.7536 | -184.0704 | -188.4915 | -193.0193 | -197.6564 | -202.4055 | -103.6347
| Community contribution | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HIPA local business tax | EUR k |  |  |  | -7647.9546 | 0 | 0 | 0 | 0 | 0 | -114.3072 | -230.9005 | -232.5099 | -234.1305 | -235.7624 | -237.4057 | -239.0604 | -240.7266 | -242.4045 | -244.0941 | -245.7954 | -247.5086 | -249.2337 | -250.9709 | -252.7202 | -254.4816 | -256.2553 | -258.0414 | -259.84 | -261.6511 | -263.4748 | -265.3112 | -267.1604 | -269.0225 | -270.8976 | -272.7858 | -274.6871 | -276.6017 | -278.5296 | -280.4709 | -141.2129
| Total opex | EUR k |  |  |  | -101080.4692 | 0 | 0 | 0 | 0 | 0 | -1182.1418 | -2419.7815 | -2473.7927 | -2529.0775 | -2585.6667 | -2643.5914 | -2702.884 | -2763.5772 | -2825.7047 | -2889.3011 | -2954.4017 | -3021.0428 | -3089.2613 | -3159.0954 | -3230.5838 | -3303.7665 | -3378.6842 | -3455.3788 | -3533.893 | -3614.2708 | -3696.557 | -3780.7977 | -3867.04 | -3955.3322 | -4045.7237 | -4138.2651 | -4233.0083 | -4330.0065 | -4429.3141 | -4530.9868 | -2317.5409
| EBITDA | EUR k |  |  |  | 281317.2615 | 0 | 0 | 0 | 0 | 0 | 4533.2182 | 9125.2457 | 9151.7034 | 9177.4482 | 9202.4536 | 9226.692 | 9250.1353 | 9272.7547 | 9294.5204 | 9315.4019 | 9335.3681 | 9354.3868 | 9372.425 | 9389.4489 | 9405.4238 | 9420.3141 | 9434.0832 | 9446.6936 | 9458.1068 | 9468.2833 | 9477.1824 | 9484.7627 | 9490.9813 | 9495.7946 | 9499.1575 | 9501.0239 | 9501.3465 | 9500.0767 | 9497.1648 | 9492.5597 | 4743.1045
| Unlevered pre-tax cash flow | EUR k |  |  |  | 209225.3277 | 0 | 0 | 0 | -33450.8995 | -26389 | -9661.2818 | 9125.2457 | 11094.1691 | 9177.4482 | 9202.4536 | 9226.692 | 9250.1353 | 9272.7547 | 9294.5204 | 9315.4019 | 9335.3681 | 9354.3868 | 9372.425 | 9389.4489 | 9405.4238 | 9420.3141 | 9434.0832 | 9446.6936 | 9458.1068 | 9468.2833 | 9477.1824 | 9484.7627 | 9490.9813 | 9495.7946 | 9499.1575 | 9501.0239 | 9501.3465 | 9500.0767 | 9497.1648 | 9492.5597 | 4743.1045
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 104654.6542 | 0 | 0 | 0 | 0 | 0 | 4360.7118 | 8126.0596 | 7545.9447 | 7006.641 | 6505.3071 | 6038.0244 | 5604.9685 | 5202.4762 | 4828.4147 | 4479.8539 | 4156.9035 | 3856.8261 | 3578.0216 | 3318.3008 | 3077.7282 | 2854.26 | 2646.6962 | 2453.403 | 2274.414 | 2108.2048 | 1953.8762 | 1810.2099 | 1677.2192 | 1553.7683 | 1439.1839 | 1332.5585 | 1233.8924 | 1142.3402 | 1057.3982 | 978.3914 | 452.6559
| RtB price: 0 (now in the sale-year payment above) | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: buyer's cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 32562.7205 | 0 | 0 | 0 | -33450.8995 | -26389 | 92402.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | Iváncsa: annual cash flow (EUR k) |  |  | Value |  | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months |  | 24 |  |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months |  | 360 |  |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Buyer pays at the Case B sale: RtB premium, land at cost, securities and connection fees reimbursed to FEP | EUR k |  |  |  | -14078.5798 | 0 | 0 | 0 | -14078.5798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -62716 | 0 | 0 | 0 | -15679 | -31358 | -15679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -2500 | 0 | 0 | 0 | 0 | 0 | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -76800.0592 | 0 | 0 | 0 | -29757.5798 | -31358 | -18179 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 4263.3988 | 0 | 0 | 0 | 0 | 0 | 74.088 | 148.176 | 147.7315 | 147.2883 | 146.8464 | 146.4059 | 145.9667 | 145.5288 | 145.0922 | 144.6569 | 144.2229 | 143.7903 | 143.3589 | 142.9288 | 142.5 | 142.0725 | 141.6463 | 141.2214 | 140.7977 | 140.3753 | 139.9542 | 139.5343 | 139.1157 | 138.6984 | 138.2823 | 137.8674 | 137.4538 | 137.0415 | 136.6303 | 136.2204 | 67.9059
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 446130.6857 | 0 | 0 | 0 | 0 | 0 | 6667.92 | 13469.1984 | 13563.0787 | 13657.6134 | 13752.8069 | 13848.664 | 13945.1892 | 14042.3872 | 14140.2626 | 14238.8202 | 14338.0648 | 14438.0011 | 14538.634 | 14639.9683 | 14742.0088 | 14844.7606 | 14948.2286 | 15052.4178 | 15157.3331 | 15262.9797 | 15369.3627 | 15476.4872 | 15584.3583 | 15692.9813 | 15802.3613 | 15912.5038 | 16023.414 | 16135.0971 | 16247.5588 | 16360.8043 | 8237.4195
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -70011.092 | 0 | 0 | 0 | 0 | 0 | -787.5 | -1614.375 | -1654.7344 | -1696.1027 | -1738.5053 | -1781.9679 | -1826.5171 | -1872.1801 | -1918.9846 | -1966.9592 | -2016.1332 | -2066.5365 | -2118.1999 | -2171.1549 | -2225.4338 | -2281.0696 | -2338.0964 | -2396.5488 | -2456.4625 | -2517.874 | -2580.8209 | -2645.3414 | -2711.475 | -2779.2618 | -2848.7434 | -2919.962 | -2992.961 | -3067.785 | -3144.4797 | -3223.0916 | -1651.8345
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -31411.9299 | 0 | 0 | 0 | 0 | 0 | -370.44 | -759.402 | -776.0519 | -793.0668 | -810.4548 | -828.224 | -846.3829 | -864.9398 | -883.9036 | -903.2832 | -923.0877 | -943.3264 | -964.0088 | -985.1447 | -1006.744 | -1028.8168 | -1051.3737 | -1074.425 | -1097.9818 | -1122.055 | -1146.6561 | -1171.7965 | -1197.4882 | -1223.7431 | -1250.5737 | -1277.9925 | -1306.0125 | -1334.6468 | -1363.9089 | -1393.8126 | -712.186
| MEKH supervisory fee | EUR k |  |  |  | -446.1307 | 0 | 0 | 0 | 0 | 0 | -6.6679 | -13.4692 | -13.5631 | -13.6576 | -13.7528 | -13.8487 | -13.9452 | -14.0424 | -14.1403 | -14.2388 | -14.3381 | -14.438 | -14.5386 | -14.64 | -14.742 | -14.8448 | -14.9482 | -15.0524 | -15.1573 | -15.263 | -15.3694 | -15.4765 | -15.5844 | -15.693 | -15.8024 | -15.9125 | -16.0234 | -16.1351 | -16.2476 | -16.3608 | -8.2374
| Opex contingency | EUR k |  |  |  | -5176.8042 | 0 | 0 | 0 | 0 | 0 | -59.1679 | -121.2842 | -124.1874 | -127.1605 | -130.2053 | -133.3234 | -136.5167 | -139.7869 | -143.1359 | -146.5657 | -150.0781 | -153.6752 | -157.359 | -161.1317 | -164.9953 | -168.9521 | -173.0044 | -177.1543 | -181.4044 | -185.7571 | -190.2147 | -194.7799 | -199.4553 | -204.2435 | -209.1473 | -214.1695 | -219.3129 | -224.5805 | -229.9752 | -235.5003 | -120.5794
| Community contribution | EUR k |  |  |  | -12790.1965 | 0 | 0 | 0 | 0 | 0 | -222.264 | -444.528 | -443.1944 | -441.8648 | -440.5392 | -439.2176 | -437.9 | -436.5863 | -435.2765 | -433.9707 | -432.6688 | -431.3708 | -430.0766 | -428.7864 | -427.5001 | -426.2176 | -424.9389 | -423.6641 | -422.3931 | -421.1259 | -419.8625 | -418.603 | -417.3471 | -416.0951 | -414.8468 | -413.6023 | -412.3615 | -411.1244 | -409.891 | -408.6613 | -203.7177
| HIPA local business tax | EUR k |  |  |  | -8922.6137 | 0 | 0 | 0 | 0 | 0 | -133.3584 | -269.384 | -271.2616 | -273.1523 | -275.0561 | -276.9733 | -278.9038 | -280.8477 | -282.8053 | -284.7764 | -286.7613 | -288.76 | -290.7727 | -292.7994 | -294.8402 | -296.8952 | -298.9646 | -301.0484 | -303.1467 | -305.2596 | -307.3873 | -309.5297 | -311.6872 | -313.8596 | -316.0472 | -318.2501 | -320.4683 | -322.7019 | -324.9512 | -327.2161 | -164.7484
| Total opex | EUR k |  |  |  | -130425.6976 | 0 | 0 | 0 | 0 | 0 | -1598.1482 | -3260.8799 | -3322.3912 | -3385.3882 | -3449.9066 | -3515.9828 | -3583.6541 | -3652.9589 | -3723.9362 | -3796.6263 | -3871.0702 | -3947.3101 | -4025.389 | -4105.3512 | -4187.2418 | -4271.1073 | -4356.995 | -4444.9537 | -4535.033 | -4627.284 | -4721.759 | -4818.5114 | -4917.596 | -5019.0691 | -5122.988 | -5229.4117 | -5338.4005 | -5450.0162 | -5564.3221 | -5681.3831 | -2900.6327
| EBITDA | EUR k |  |  |  | 315704.9881 | 0 | 0 | 0 | 0 | 0 | 5069.7718 | 10208.3185 | 10240.6876 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Unlevered pre-tax cash flow | EUR k |  |  |  | 238904.9289 | 0 | 0 | 0 | -29757.5798 | -31358 | -13109.2282 | 10208.3185 | 12735.2081 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 117317.0666 | 0 | 0 | 0 | 0 | 0 | 4876.8475 | 9090.5393 | 8443.8556 | 7842.4626 | 7283.224 | 6761.793 | 6278.403 | 5828.9856 | 5411.1822 | 5021.7375 | 4660.8003 | 4325.3259 | 4013.5416 | 3723.0118 | 3453.8268 | 3203.7101 | 2971.3303 | 2754.867 | 2554.3704 | 2368.1404 | 2195.1777 | 2034.1229 | 1884.9999 | 1746.5402 | 1617.9942 | 1498.3485 | 1387.6093 | 1284.8315 | 1189.4535 | 1100.7203 | 509.3137
| RtB price: 0 (now in the sale-year payment above) | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: buyer's cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 40517.0074 | 0 | 0 | 0 | -29757.5798 | -31358 | 101632.5871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | Dunaújváros: annual cash flow (EUR k) |  |  |  | Value | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months |  |  | 24 |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months |  |  | 360 |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Buyer pays at the Case B sale: RtB premium, land at cost, securities and connection fees reimbursed to FEP | EUR k |  |  |  | -14078.5798 | 0 | 0 | 0 | -14078.5798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -62716 | 0 | 0 | 0 | -15679 | -31358 | -15679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -2500 | 0 | 0 | 0 | 0 | 0 | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -76800.0592 | 0 | 0 | 0 | -29757.5798 | -31358 | -18179 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 4263.3988 | 0 | 0 | 0 | 0 | 0 | 74.088 | 148.176 | 147.7315 | 147.2883 | 146.8464 | 146.4059 | 145.9667 | 145.5288 | 145.0922 | 144.6569 | 144.2229 | 143.7903 | 143.3589 | 142.9288 | 142.5 | 142.0725 | 141.6463 | 141.2214 | 140.7977 | 140.3753 | 139.9542 | 139.5343 | 139.1157 | 138.6984 | 138.2823 | 137.8674 | 137.4538 | 137.0415 | 136.6303 | 136.2204 | 67.9059
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 446130.6857 | 0 | 0 | 0 | 0 | 0 | 6667.92 | 13469.1984 | 13563.0787 | 13657.6134 | 13752.8069 | 13848.664 | 13945.1892 | 14042.3872 | 14140.2626 | 14238.8202 | 14338.0648 | 14438.0011 | 14538.634 | 14639.9683 | 14742.0088 | 14844.7606 | 14948.2286 | 15052.4178 | 15157.3331 | 15262.9797 | 15369.3627 | 15476.4872 | 15584.3583 | 15692.9813 | 15802.3613 | 15912.5038 | 16023.414 | 16135.0971 | 16247.5588 | 16360.8043 | 8237.4195
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -70011.092 | 0 | 0 | 0 | 0 | 0 | -787.5 | -1614.375 | -1654.7344 | -1696.1027 | -1738.5053 | -1781.9679 | -1826.5171 | -1872.1801 | -1918.9846 | -1966.9592 | -2016.1332 | -2066.5365 | -2118.1999 | -2171.1549 | -2225.4338 | -2281.0696 | -2338.0964 | -2396.5488 | -2456.4625 | -2517.874 | -2580.8209 | -2645.3414 | -2711.475 | -2779.2618 | -2848.7434 | -2919.962 | -2992.961 | -3067.785 | -3144.4797 | -3223.0916 | -1651.8345
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -31411.9299 | 0 | 0 | 0 | 0 | 0 | -370.44 | -759.402 | -776.0519 | -793.0668 | -810.4548 | -828.224 | -846.3829 | -864.9398 | -883.9036 | -903.2832 | -923.0877 | -943.3264 | -964.0088 | -985.1447 | -1006.744 | -1028.8168 | -1051.3737 | -1074.425 | -1097.9818 | -1122.055 | -1146.6561 | -1171.7965 | -1197.4882 | -1223.7431 | -1250.5737 | -1277.9925 | -1306.0125 | -1334.6468 | -1363.9089 | -1393.8126 | -712.186
| MEKH supervisory fee | EUR k |  |  |  | -446.1307 | 0 | 0 | 0 | 0 | 0 | -6.6679 | -13.4692 | -13.5631 | -13.6576 | -13.7528 | -13.8487 | -13.9452 | -14.0424 | -14.1403 | -14.2388 | -14.3381 | -14.438 | -14.5386 | -14.64 | -14.742 | -14.8448 | -14.9482 | -15.0524 | -15.1573 | -15.263 | -15.3694 | -15.4765 | -15.5844 | -15.693 | -15.8024 | -15.9125 | -16.0234 | -16.1351 | -16.2476 | -16.3608 | -8.2374
| Opex contingency | EUR k |  |  |  | -5176.8042 | 0 | 0 | 0 | 0 | 0 | -59.1679 | -121.2842 | -124.1874 | -127.1605 | -130.2053 | -133.3234 | -136.5167 | -139.7869 | -143.1359 | -146.5657 | -150.0781 | -153.6752 | -157.359 | -161.1317 | -164.9953 | -168.9521 | -173.0044 | -177.1543 | -181.4044 | -185.7571 | -190.2147 | -194.7799 | -199.4553 | -204.2435 | -209.1473 | -214.1695 | -219.3129 | -224.5805 | -229.9752 | -235.5003 | -120.5794
| Community contribution | EUR k |  |  |  | -12790.1965 | 0 | 0 | 0 | 0 | 0 | -222.264 | -444.528 | -443.1944 | -441.8648 | -440.5392 | -439.2176 | -437.9 | -436.5863 | -435.2765 | -433.9707 | -432.6688 | -431.3708 | -430.0766 | -428.7864 | -427.5001 | -426.2176 | -424.9389 | -423.6641 | -422.3931 | -421.1259 | -419.8625 | -418.603 | -417.3471 | -416.0951 | -414.8468 | -413.6023 | -412.3615 | -411.1244 | -409.891 | -408.6613 | -203.7177
| HIPA local business tax | EUR k |  |  |  | -8922.6137 | 0 | 0 | 0 | 0 | 0 | -133.3584 | -269.384 | -271.2616 | -273.1523 | -275.0561 | -276.9733 | -278.9038 | -280.8477 | -282.8053 | -284.7764 | -286.7613 | -288.76 | -290.7727 | -292.7994 | -294.8402 | -296.8952 | -298.9646 | -301.0484 | -303.1467 | -305.2596 | -307.3873 | -309.5297 | -311.6872 | -313.8596 | -316.0472 | -318.2501 | -320.4683 | -322.7019 | -324.9512 | -327.2161 | -164.7484
| Total opex | EUR k |  |  |  | -130425.6976 | 0 | 0 | 0 | 0 | 0 | -1598.1482 | -3260.8799 | -3322.3912 | -3385.3882 | -3449.9066 | -3515.9828 | -3583.6541 | -3652.9589 | -3723.9362 | -3796.6263 | -3871.0702 | -3947.3101 | -4025.389 | -4105.3512 | -4187.2418 | -4271.1073 | -4356.995 | -4444.9537 | -4535.033 | -4627.284 | -4721.759 | -4818.5114 | -4917.596 | -5019.0691 | -5122.988 | -5229.4117 | -5338.4005 | -5450.0162 | -5564.3221 | -5681.3831 | -2900.6327
| EBITDA | EUR k |  |  |  | 315704.9881 | 0 | 0 | 0 | 0 | 0 | 5069.7718 | 10208.3185 | 10240.6876 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Unlevered pre-tax cash flow | EUR k |  |  |  | 238904.9289 | 0 | 0 | 0 | -29757.5798 | -31358 | -13109.2282 | 10208.3185 | 12735.2081 | 10272.2252 | 10302.9004 | 10332.6812 | 10361.5351 | 10389.4283 | 10416.3264 | 10442.1939 | 10466.9946 | 10490.691 | 10513.245 | 10534.6171 | 10554.767 | 10573.6533 | 10591.2336 | 10607.4641 | 10622.3001 | 10635.6957 | 10647.6037 | 10657.9758 | 10666.7622 | 10673.9122 | 10679.3733 | 10683.0921 | 10685.0134 | 10685.0809 | 10683.2366 | 10679.4212 | 5336.7868
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 117317.0666 | 0 | 0 | 0 | 0 | 0 | 4876.8475 | 9090.5393 | 8443.8556 | 7842.4626 | 7283.224 | 6761.793 | 6278.403 | 5828.9856 | 5411.1822 | 5021.7375 | 4660.8003 | 4325.3259 | 4013.5416 | 3723.0118 | 3453.8268 | 3203.7101 | 2971.3303 | 2754.867 | 2554.3704 | 2368.1404 | 2195.1777 | 2034.1229 | 1884.9999 | 1746.5402 | 1617.9942 | 1498.3485 | 1387.6093 | 1284.8315 | 1189.4535 | 1100.7203 | 509.3137
| RtB price: 0 (now in the sale-year payment above) | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: buyer's cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 40517.0074 | 0 | 0 | 0 | -29757.5798 | -31358 | 101632.5871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | COD exit: tax on the gain (price and profit: totals of the cash-flow blocks above) | EUR k | Bora | Iváncsa | Dunaújváros | Total
| CIT on the exit gain (0 while the participation exemption flag is on) | EUR k | 0 | 0 | 0 | 0
| Buyer profit, post-tax | EUR k | 32562.7205 | 40517.0074 | 40517.0074 | 113596.7352
x | Checks (0 = OK) |  | Bora | Iváncsa | Dunaújváros | Total
| Case B waterfall closes (proceeds = all amounts paid out) | flag | 0 | 0 | 0 | 0
| Claim lines paid before the accrual end year | flag | 0 | 0 | 0 | 0
| Turbine route is EU or CN | flag | 0 | 0 | 0 | 0
| Devex items × scale = project devex (land + development) | flag | 0 | 0 | 0 | 0
| Construction capex spread in full (timeline = capex) | flag | 0 | 0 | 0 | 0
| Investment cash flows = all-in cost to COD for a buyer (RtB price, capex, fees, municipal, land) | flag | 0 | 0 | 0 | 0
| Operating life inside the timeline | flag | 0 | 0 | 0 | 0
| Sale date A before the HCSSZ date (Case A exits before the connection fees) | flag | 0 | 0 | 0 | 0
| COD cost stack = timeline investment flows | flag | 0 | 0 | 0 | 0
| Case A waterfall closes (proceeds = all amounts paid out) | flag | 0 | 0 | 0 | 0
| Master check | flag |  |  |  | 0
***END***
Formulas:
Bora = SUMPRODUCT((Devex_Class="Land")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Bora, row above]
Bora = SUMPRODUCT((Devex_Class="Devex")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Bora, row above]
Iváncsa = SUMPRODUCT((Devex_Class="Land")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Iváncsa, row above]
Iváncsa = SUMPRODUCT((Devex_Class="Devex")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Iváncsa, row above]
Dunaújváros = SUMPRODUCT((Devex_Class="Land")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Dunaújváros, row above]
Dunaújváros = SUMPRODUCT((Devex_Class="Devex")*(Devex_Date<=Sale_Date_A)*Devex_HUF,Devex_Date)/[Dunaújváros, row above]

## Inputs
HU wind bids – other inputs (blue) with sources
x | Inputs |  | Bora | Iváncsa | Dunaújváros | Source
Tender and grid (all projects; value in column E)
| FX rate | HUF/EUR | 365 |  |  | Bora Inputs E11; Bid_Cash E45
| Security base: benchmark investment, wind | HUF/MW | 406000000 |  |  | Bora Inputs E75; Bid_Cash E46
| Security base: benchmark investment, BESS | HUF/MWh | 200000000 |  |  | Bora Inputs E89; Bid_Cash E47
| Bid security, share of base | % | 0.5% |  |  | Bora Inputs E76; Bid_Cash E49
| Performance security, minimum share of base | % | 2.5% |  |  | Bora Inputs E77; Bid_Cash E50
| Participation fee per bid | HUF | 3000000 |  |  | Bora Inputs E81; Bid_Cash E48
| TSO connection-request security | HUF/MVA | 4500000 |  |  | Bora Inputs E83; Bid_Cash E51
Per project: fees, devex, dates
| Indirect connection fee | HUF/MVA | 73071306 | 19826680 | 19826680 | Bora Inputs G290; Bid_Cash E52
| Direct connection fee per connection point | HUF | 508345804 | 460000000 | 460000000 | Bora Inputs G291; Bid_Cash E53
| Bids sharing the connection point | count | 2 | 1 | 1 | Bora: 2 bids per point (SPEC §22.2)
| Signing fee and DD | EUR k | 100 | 150 | 150 | Bora E24+E25: 400 × 50/200; Bid_Cash E55
| Devex scale (bid MVA ÷ 200 MVA of the devex file) | x | 0.25 | 0.25 | 0.25 | SPEC §26.2: 50/200; 1 = the full devex file
| EU transformers ≥ 80 % (ÖSZ-9) | flag | 0 | 0 | 0 | Bid_Cash E16; SPEC §23.1
| Signing fee and DD paid | date | 2026-07-31 | 2026-07-31 | 2026-07-31 | Bora Inputs E27; Bid_Cash E34
| Bid submission: fee paid, bid security posted | date | 2026-10-30 | 2026-10-30 | 2026-10-30 | Bora Inputs E95; Bid_Cash E35
| Performance security posted | date | 2027-01-15 | 2027-01-15 | 2027-01-15 | Bora Deposits K10 (E96 + 17 d); Bid_Cash E36
| TSO security paid | date | 2027-01-15 | 2027-01-15 | 2027-01-15 | Bora Inputs E97; Bid_Cash E37
| Connection agreement (HCSSZ): fees paid | date | 2028-10-01 | 2028-10-01 | 2028-10-01 | Bora Inputs E99; Bid_Cash E39
| Notice to proceed | date | 2029-06-30 | 2029-06-30 | 2029-06-30 | Bora Inputs E154; Bid_Cash E40
| COD | date | 2031-06-30 | 2031-06-30 | 2031-06-30 | Bora Inputs E155; Bid_Cash E41
| Performance security released | date | 2033-03-31 | 2033-03-31 | 2033-03-31 | Bid_Cash E42 (Kiírás XII.13, estimate)
| DSA accrual start | date | 2026-10-30 | 2026-10-30 | 2026-10-30 | Bora Inputs E70; others: signing (DSA off)
RtB exit terms (all projects; value in column E)
| Claim rate, cash lines (incl. cash-posted securities) | % | 12% |  |  | Devex file V18; SPEC §21.1
| Claim rate, devex | % | 20% |  |  | Devex file V19
| Devex minimum return multiple | x | 2 |  |  | Devex file V20
| Interest freeze date | date | 2029-06-30 |  |  | Devex file V24
| Sale date, Case B (RtB exit after HCSSZ) | date | 2029-09-30 |  |  | Bora Inputs E58; SPEC §21.1
| Sale date, Case A (before HCSSZ) | date | 2028-09-30 |  |  | SPEC §25.2 (user, 28-Oct-2026)
| Sale costs per project | EUR k | 250 |  |  | SPEC §21.1
| Developer success fee (on committed MW, 30/360) | EUR k/MW/yr | 2.5 |  |  | Bora Inputs E36
| Developer success fee cap | EUR k/MW | 10 |  |  | Bora Inputs E37
| Corporate income tax on exit gains | % | 15% |  |  | SPEC §22.2 (exit gains only)
| Share deal, participation exemption on the share gain (1 = on); claims taxed as interest | flag | 1
Capex (per MW of wind built unless stated; turbines: case table on the Dashboard)
| Turbine installation and erection | EUR k/MW | 80 |  |  | Bora Inputs G163
| Foundations | EUR k/MW | 90 |  |  | Bora Inputs G164
| Balance of plant – civil | EUR k/MW | 70 |  |  | Bora Inputs G165
| Balance of plant – electrical | EUR k/MW | 60 |  |  | Bora Inputs G166
| Owner's costs, engineering, PM, construction insurance | EUR k/MW | 40 |  |  | Bora Inputs G169
| Land purchase and easements | EUR k/MW | 0 |  |  | Land is in the devex (Inputs rows 80, 81, 110) and bought by the buyer at cost; 0 so it is not counted twice (v3)
| On-site substation and 132 kV bay (lump sum) | EUR k | 12000 |  |  | Bora Inputs G167
| Source basis of the lump sums | MVA | 200 |  |  | Bora Inputs E305
| Capex contingency (not on BESS) | % | 5% |  |  | Bora Inputs G173
| BESS capex | EUR k/MWh | 100 |  |  | CLAUDE.md standing assumption, 15-Oct-26
Generation (hours and PPA price: case table on the Dashboard)
| Curtailment | % | 2% |  |  | Bora Inputs G183
| Clipping | % | 4% |  |  | Bora Dash_Clip_Override (user, 26-Oct-26)
| Degradation | % p.a. | 0.3% |  |  | Bora Inputs G184
| PPA escalation | % p.a. | 1% |  |  | Bora Inputs G194
Opex (COD-year prices; O&M contract: case table on the Dashboard)
| Balance of plant maintenance | EUR k/MW/yr | 3 |  |  | Bora Inputs G204
| Land lease | EUR k/MW/yr | 3 |  |  | Bora Inputs G205
| Operational insurance | EUR k/MW/yr | 2.5 |  |  | Bora Inputs G206
| Asset and commercial management | EUR k/MW/yr | 1.5 |  |  | Bora Inputs G207
| Property tax | EUR k/MW/yr | 3 |  |  | Bora Inputs G208
| Administration, audit, compliance (at the source basis) | EUR k/yr | 150 |  |  | Bora Inputs G209
| Balancing cost | EUR/MWh | 4 |  |  | Bora Inputs G196
| Grid use-of-system charges | EUR/MWh | 1 |  |  | Bora Inputs G197
| MEKH supervisory fee | % of rev. | 0.1% |  |  | Bora Inputs G198
| HIPA local business tax | % of rev. | 2% |  |  | Bora Inputs G212
| Opex contingency (not on community, HIPA) | % | 5% |  |  | Bora Inputs G210
| Opex escalation | % p.a. | 2.5% |  |  | Bora Inputs G211
Valuation, timeline and constants
| Operating life from COD | years | 30 |  |  | Bora Inputs G157
| Discount rate (buyer's pre-tax return at COD) | % | 8% |  |  | Bora Inputs G226
| First year of the annual timeline | year | 2026 |  |  | Year of the first signing
| Thousand | x | 1000 |  |  | Constant
| Days in a year (act/365) | days | 365 |  |  | Constant
| Months in a year | months | 12 |  |  | Constant
| Check tolerance | EUR k | 0.001 |  |  | Constant
Devex items (BORA_Devex 02-Oct-26; all projects × the scale): HUF ¦ date ¦ class
| Capacity allocation process - Awarding – Land reservation fee | HUF | 20590500 | 2027-02-13 | Land | BORA_Devex 02-Oct-26 row 14
| Capacity allocation process - Awarding – Land purchase price | HUF | 45600000 | 2027-02-13 | Land | BORA_Devex 02-Oct-26 row 15
| Grid connection plan – Design fee | HUF | 59142857.1429 | 2028-08-11 | Devex | BORA_Devex 02-Oct-26 row 16
| Grid connection plan – Administrative fee | HUF | 750544 | 2028-08-11 | Devex | BORA_Devex 02-Oct-26 row 17
| Land contracting (additional land) – Legal fee, agent fee | HUF | 65580000 | 2026-10-01 | Devex | BORA_Devex 02-Oct-26 row 20
| Wind measurement – Met Masts | HUF | 147260000 | 2027-03-01 | Devex | BORA_Devex 02-Oct-26 row 21
| Wind measurement – Design fee | HUF | 3600000 | 2027-01-01 | Devex | BORA_Devex 02-Oct-26 row 22
| Wind measurement – EYA | HUF | 1665000 | 2028-06-28 | Devex | BORA_Devex 02-Oct-26 row 23
| Land reclassification – Administrative fee | HUF | 960000 | 2027-12-25 | Devex | BORA_Devex 02-Oct-26 row 24
| Land reclassification – Report fee | HUF | 8000000 | 2027-07-28 | Devex | BORA_Devex 02-Oct-26 row 25
| Zoning plan modification – Design fee | HUF | 50000000 | 2028-02-23 | Devex | BORA_Devex 02-Oct-26 row 26
| Municipality donation – Donation | HUF | 35000000 | 2028-02-23 | Devex | BORA_Devex 02-Oct-26 row 27
| Environmental assessment – Bird-bat monitoring | HUF | 14832000 | 2027-12-30 | Devex | BORA_Devex 02-Oct-26 row 28
| Environmental assessment – Administrative fee | HUF | 40000 | 2028-04-28 | Devex | BORA_Devex 02-Oct-26 row 29
| Environmental assessment – Assessment fee | HUF | 32610000 | 2028-03-29 | Devex | BORA_Devex 02-Oct-26 row 30
| Other project development – Geotechnical assessment fee | HUF | 8000000 | 2027-07-28 | Devex | BORA_Devex 02-Oct-26 row 31
| Other project development – Archaeological | HUF | 8000000 | 2027-06-28 | Devex | BORA_Devex 02-Oct-26 row 32
| Other project development – Topography | HUF | 8000000 | 2027-06-28 | Devex | BORA_Devex 02-Oct-26 row 33
| Building permit - Turbines – Administrative fee | HUF | 4590000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 34
| Building permit - Turbines – Design fee | HUF | 138000000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 35
| Cable right – Administrative fee | HUF | 45000000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 36
| Cable right – Design fee | HUF | 74896683.6735 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 37
| Cable right – Compensation | HUF | 15000000 | 2027-11-29 | Devex | BORA_Devex 02-Oct-26 row 38
| Building permit - Substation, switching station – Administrative fee | HUF | 6000000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 39
| Building permit - Substation, switching station – Design fee | HUF | 45178571.4286 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 40
| Building permit - BESS – Administrative fee | HUF | 4590000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 41
| Building permit - BESS – Design fee | HUF | 70000000 | 2028-01-28 | Devex | BORA_Devex 02-Oct-26 row 42
| HEPURA permit – Administrative fee | HUF | 20000000 | 2029-01-08 | Devex | BORA_Devex 02-Oct-26 row 43
| HEPURA permit – Report fee | HUF | 12000000 | 2028-11-09 | Devex | BORA_Devex 02-Oct-26 row 44
| Legal costs – Legal costs | HUF | 7400000 | 2027-12-31 | Devex | BORA_Devex 02-Oct-26 row 45; continuous: 31-Dec-27
| Financial costs – Financial costs | HUF | 29600000 | 2027-12-31 | Devex | BORA_Devex 02-Oct-26 row 46; continuous: 31-Dec-27
| RtB – Land purchase price | HUF | 91200000 | 2029-03-24 | Land | BORA_Devex 02-Oct-26 row 47
| Contingency – Contingency | HUF | 107908615.6245 | 2027-12-31 | Devex | BORA_Devex 02-Oct-26 row 48; continuous: 31-Dec-27
x | Band tables for the points (ÖSZ, Kiírás Annex 4) – expand the group |  | Values →
| Osz1_LB |  | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50
| Osz1_Incl |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| Osz1_Pts |  | 0 | 10 | 20 | 30 | 40 | 55 | 70 | 80 | 90 | 100
| Osz2_LB |  | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3
| Osz2_Incl |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| Osz2_Pts |  | 0 | 5 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
| Osz3_LB |  | 0.02 | 0.05 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4 | 0.5
| Osz3_Incl |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
| Osz3_Pts |  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Osz4_LB |  |  | 0.02 | 0.05 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4 | 0.5
Osz4_Incl |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Osz4_Pts |  |  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | Kiírás Annex 4, ÖSZ-4: 2<x<5:10 … 40≤x<50:90, 50<x:100 (x = 50 % not defined; scored 90)
| Osz6_LB |  | 1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
| Osz6_Incl |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |  | Kiírás Annex 4, ÖSZ-6: 100 pts only if x > 200 % (strict); 190≤x<200: 90
| Osz6_Pts |  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
| Osz5_Pts |  | 0: 100
| Osz7_Pts |  | 0: 100
| Osz8_Pts |  | 0: 100
| Osz9a_Pts |  | 0: 80
| Osz9b_Pts |  | 0: 20
| Osz1_W |  | 0: 0.2
| Osz2_W |  | 0: 0.15
| Osz3_W |  | 0: 0.1
| Osz4_W |  | 0: 0.15
| Osz5_W |  | 0: 0.05
| Osz6_W |  | 0: 0.05
| Osz7_W |  | 0: 0.1
| Osz8_W |  | 0: 0.05
| Osz9_W |  | 0: 0.15
***END***