## Dashboard
HU wind projects
| Master check (0 = OK; checks at the end of the detail) | flag |  |  |  | 0
x | Key inputs: the bids |  | Bora | Iváncsa | Dunaújváros | Total
| Net connection capacity | MVA | 50 | 50 | 50 | 150
| Overbuild (ÖSZ-3) | % | 0% | 40% | 40%
| BESS power, share of MVA (ÖSZ-4) | % | 0% | 20% | 20%
| BESS duration | h | 4 | 4 | 4
| Wind built below the bid | % | 0% | 0% | 0%
| Municipal one-off (ÖSZ-1), at COD | EUR k/MVA | 20 | 50 | 50
| Community contribution (ÖSZ-2) | EUR/MWh | 0 | 3 | 3
| Partial award accepted (ÖSZ-5) | flag | 1 | 1 | 1
| Performance security multiple (ÖSZ-6) | x | 1 | 1 | 1
| Brownfield site (ÖSZ-7) | flag | 0 | 0 | 0
| Shared connection (ÖSZ-8) | flag | 1 | 1 | 1
| Turbine route (EU or CN; EU scores ÖSZ-9) | text | CN | CN | CN
| RtB premium | EUR k/MVA | 150 | 150 | 150
| FEP share of distributable proceeds | % | 70% | 100% | 100%
| Developer success fee (DSA) on | flag | 1 | 0 | 0
| Net P50 hours (project wind study) | h/yr | 2500 | 2500 | 2500
x | Case: turbine price, PPA, yield, O&M |  | Base | Low | High | Live
| Case selected (Base, Low or High) | case |  |  |  | Base
| Turbine supply incl. transport, EU route | EUR k/MW | 850 | 950 | 800 | 850 | Bora Dashboard H8 / Inputs G162
| Turbine supply incl. transport, CN route | EUR k/MW | 500 | 600 | 480 | 500 | Bora Inputs H162
| PPA price in the COD year | EUR/MWh | 90 | 90 | 100 | 90 | Bora Dashboard H9
| Net P50 hours (not used: project P50 in row 21) | h/yr | 2500 | 2460 | 2600 | 2500 | Bora Dashboard H10
| O&M full-service contract | EUR k/MW/yr | 12 | 12 | 10 | 12 | Bora Dashboard H11
x | Bid points and capacity |  | Bora | Iváncsa | Dunaújváros | Total
| Points – municipal one-off | points | 4 | 20 | 20
| Points – community contribution | points | 0 | 15 | 15
| Points – overbuild | points | 0 | 9 | 9
| Points – BESS | points | 0 | 7.5 | 7.5
| Points – partial award | points | 5 | 5 | 5
| Points – performance security | points | 0 | 0 | 0
| Points – brownfield | points | 0 | 0 | 0
| Points – shared connection | points | 5 | 5 | 5
| Points – EU turbines | points | 0 | 0 | 0
| Points – EU transformers | points | 0 | 0 | 0
| Points total | points | 14 | 61.5 | 61.5
| Wind committed in the bid | MW | 50 | 70 | 70 | 190
| BESS energy | MWh | 0 | 40 | 40 | 80
| Wind built (committed less the build shortfall) | MW | 50 | 70 | 70 | 190
x | Guarantees, securities and connection fees, DEVEX (HUF) |  | Bora | Iváncsa | Dunaújváros | Total | Date
| Participation fee | HUF | 3000000 | 3000000 | 3000000 | 9000000 | 2026-10-30
| Bid security | HUF | 101500000 | 182100000 | 182100000 | 465700000 | 2026-10-30
| Performance security payable (bid security deducted) | HUF | 406000000 | 728400000 | 728400000 | 1862800000 | 2027-01-15
| TSO connection-request security | HUF | 225000000 | 225000000 | 225000000 | 675000000 | 2027-01-15
| Direct connection fee (per point ÷ bids sharing it) | HUF | 254172902 | 460000000 | 460000000 | 1174172902 | 2028-10-01
| Indirect connection fee, payable (TSO security deducted) | HUF | 3428565300 | 766334000 | 766334000 | 4961233300 | 2028-10-01
| DEVEX | HUF | 286331550 | 365000000 | 365000000 | 1016331550 | 2027-12-31
| Signing fee and DD | HUF | 36500000 | 54750000 | 54750000 | 146000000 | 2026-07-31
| Total cash to RtB (incl. signing and DD) | HUF | 4741069752 | 2784584000 | 2784584000 | 10310237752
x | Guarantees, securities and connection fees, DEVEX (EUR k) |  | Bora | Iváncsa | Dunaújváros | Total | Date
| Participation fee | EUR k | 8.2192 | 8.2192 | 8.2192 | 24.6575 | 2026-10-30
| Bid security | EUR k | 278.0822 | 498.9041 | 498.9041 | 1275.8904 | 2026-10-30
| Performance security payable (bid security deducted) | EUR k | 1112.3288 | 1995.6164 | 1995.6164 | 5103.5616 | 2027-01-15
| TSO connection-request security | EUR k | 616.4384 | 616.4384 | 616.4384 | 1849.3151 | 2027-01-15
| Direct connection fee (per point ÷ bids sharing it) | EUR k | 696.3641 | 1260.274 | 1260.274 | 3216.9121 | 2028-10-01
| Indirect connection fee, payable (TSO security deducted) | EUR k | 9393.3296 | 2099.5452 | 2099.5452 | 13592.42 | 2028-10-01
| DEVEX | EUR k | 784.47 | 1000 | 1000 | 2784.47 | 2027-12-31
| Signing fee and DD | EUR k | 100 | 150 | 150 | 400 | 2026-07-31
| Total cash to RtB (incl. signing and DD) | EUR k | 12989.2322 | 7628.9973 | 7628.9973 | 28247.2267
x | Cash to RtB by nature: sunk, returned, or borne by the buyer (EUR k) |  | Bora | Iváncsa | Dunaújváros | Total | Who bears it
| Sunk fees and devex (signing and DD, participation fee, devex) | EUR k | 892.6892 | 1158.2192 | 1158.2192 | 3209.1275 | FEP – sunk; recovered only via the claims at the sale
| Securities, returned (bid, performance, TSO connection request) | EUR k | 2006.8493 | 3110.9589 | 3110.9589 | 8228.7671 | FEP – cash out, returned or reimbursed at the sale
| Grid connection fees (direct + indirect, payable at HCSSZ) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321 | Buyer at RtB; FEP pays only if no buyer is found
| Total cash to RtB (= total above) | EUR k | 12989.2322 | 7628.9973 | 7628.9973 | 28247.2267 | Case A: FEP pre-funds everything
| Grid connection fees, share of the total | % | 77.68% | 44.04% | 44.04% | 59.51%
| FEP exposure if the buyer pays the grid connection fees | EUR k | 2899.5385 | 4269.1781 | 4269.1781 | 11437.8947 | Case B: FEP funds sunk fees, devex and securities only
x | Capex breakdown to COD |  | Bora | Iváncsa | Dunaújváros | Total
| Turbines (route price, live case) | EUR k | 25000 | 35000 | 35000 | 95000
| Installation and erection | EUR k | 4000 | 5600 | 5600 | 15200
| Foundations | EUR k | 4500 | 6300 | 6300 | 17100
| Balance of plant – civil | EUR k | 3500 | 4900 | 4900 | 13300
| Balance of plant – electrical | EUR k | 3000 | 4200 | 4200 | 11400
| Owner's costs, engineering, PM, construction insurance | EUR k | 2000 | 2800 | 2800 | 7600
| Land purchase and easements | EUR k | 750 | 1050 | 1050 | 2850
| Substation and 132 kV bay (scaled by MVA) | EUR k | 3000 | 3000 | 3000 | 9000
| Contingency (not on BESS) | EUR k | 2287.5 | 3142.5 | 3142.5 | 8572.5
| BESS (on BESS energy) | EUR k | 0 | 4000 | 4000 | 8000
| Construction capex | EUR k | 48037.5 | 69992.5 | 69992.5 | 188022.5
| Connection fees (TSO security, direct, indirect) | EUR k | 10706.1321 | 3976.2575 | 3976.2575 | 18658.6471
| Municipal one-off | EUR k | 1000 | 2500 | 2500 | 6000
| Development (participation fee, devex, signing and DD) | EUR k | 892.6892 | 1158.2192 | 1158.2192 | 3209.1275
| All-in cost to COD (securities excluded: returned) | EUR k | 60636.3212 | 77626.9767 | 77626.9767 | 215890.2747
| All-in cost per MW built | EUR k/MW | 1212.7264 | 1108.9568 | 1108.9568 | 1136.2646
| All-in cost per MVA | EUR k/MVA | 1212.7264 | 1552.5395 | 1552.5395 | 1439.2685
x | Devex breakdown (Bora: devex-file categories; tender fee and securities: above) |  | Bora | Iváncsa | Dunaújváros | Total
| Grid connection plan and agreement | EUR k | 40.47 | 51.589 | 51.589 | 143.6479
| Land (reservation, purchase, contracting) | EUR k | 150.66 | 192.0532 | 192.0532 | 534.7665
| Permits, zoning, cable rights | EUR k | 333.93 | 425.6759 | 425.6759 | 1185.2819
| Studies (wind, environment, ground) | EUR k | 151.36 | 192.9456 | 192.9456 | 537.2511
| Legal, financial and other | EUR k | 37.5 | 47.803 | 47.803 | 133.106
| Contingency | EUR k | 70.55 | 89.9333 | 89.9333 | 250.4167
| Devex total (= DEVEX line above) | EUR k | 784.47 | 1000 | 1000 | 2784.47
x | Returns RTB COD HTM |  | Bora | Iváncsa | Dunaújváros | Total
RTB exit, Case A: buyer pays the grid connection fees (FEP does not pre-fund)
| Grid connection fees paid by the buyer (not FEP cash) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321
| Total FEP cash out to RtB (peak exposure) | EUR k | 2899.5385 | 4269.1781 | 4269.1781 | 11437.8947
| Total proceeds to FEP at the sale | EUR k | 7260.4284 | 10360.9589 | 10360.9589 | 27982.3462
| FEP profit, pre-tax | EUR k | 4360.8899 | 6091.7808 | 6091.7808 | 16544.4515
| FEP profit, post-tax | EUR k | 4143.9962 | 5787.8742 | 5787.8742 | 15719.7445
| MOIC, pre-tax | x | 2.504 | 2.4269 | 2.4269 | 2.4465
| IRR, pre-tax | % | 43.87% | 41.42% | 41.42%
RTB exit, Case B: FEP pre-funds the grid connection fees, buyer reimburses them at the sale
| Total FEP cash out to RtB (peak exposure) | EUR k | 12989.2322 | 7628.9973 | 7628.9973 | 28247.2267
| Total proceeds to FEP at the sale | EUR k | 17627.2455 | 13720.7781 | 13720.7781 | 45068.8017
| FEP profit, pre-tax | EUR k | 4638.0133 | 6091.7808 | 6091.7808 | 16821.575
| FEP profit, post-tax | EUR k | 4282.5579 | 5741.7338 | 5741.7338 | 15766.0254
| MOIC, pre-tax | x | 1.3571 | 1.7985 | 1.7985 | 1.5955
| IRR, pre-tax | % | 24.74% | 35% | 35%
COD exit
| Total capex and costs to COD (incl. developer JV buyout at RtB) | EUR k | 62355.6187 | 77626.9767 | 77626.9767 | 217609.5722
| Sale price at COD | EUR k | 96859.9876 | 130416.0013 | 130416.0013 | 357691.9902
| FEP profit, pre-tax | EUR k | 34504.3688 | 52789.0246 | 52789.0246 | 140082.418
| FEP profit, post-tax | EUR k | 34504.3688 | 52789.0246 | 52789.0246 | 140082.418
| MOIC, pre-tax | x | 1.6801 | 1.878 | 1.878
| IRR, pre-tax | % | 30.02% | 41.89% | 41.89%
Hold to maturity (EBITDA only, no debt, no tax)
| Total capex and costs to COD | EUR k | 60636.3212 | 77626.9767 | 77626.9767 | 215890.2747
| Total revenue over the life | EUR k | 354071.9728 | 495700.7619 | 495700.7619 | 1345473.4966
| Total opex over the life | EUR k | -93722.6772 | -144722.9665 | -144722.9665 | -383168.6103
| Total EBITDA over the life | EUR k | 260349.2956 | 350977.7954 | 350977.7954 | 962304.8864
| Project IRR, pre-tax | % | 12.08% | 13.01% | 13.01%
| NPV at the discount rate, at the first year end | EUR k | 21929.4502 | 33611.0901 | 33611.0901 | 89151.6304
x | Annual cash flow per project (EUR k) |  |  |  |  | Total
| Year | year |  |  |  |  | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061
Bora
| Spending (capex, fees, securities, devex), net | EUR k |  |  |  | -60636.3212 | -386.3014 | -2513.2371 | -10089.6937 | -12009.375 | -24018.75 | -13009.375 | 0 | 1390.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 354071.9728 | 0 | 0 | 0 | 0 | 0 | 5292 | 10689.84 | 10764.3482 | 10839.3757 | 10914.9261 | 10991.0032 | 11067.6105 | 11144.7517 | 11222.4306 | 11300.651 | 11379.4165 | 11458.731 | 11538.5984 | 11619.0224 | 11700.007 | 11781.5561 | 11863.6735 | 11946.3633 | 12029.6295 | 12113.476 | 12197.9069 | 12282.9263 | 12368.5383 | 12454.747 | 12541.5566 | 12628.9713 | 12716.9952 | 12805.6327 | 12894.8879 | 12984.7653 | 6537.6345
| Opex | EUR k |  |  |  | -93722.6772 | 0 | 0 | 0 | 0 | 0 | -1096.0341 | -2243.528 | -2293.6131 | -2344.8794 | -2397.3553 | -2451.0698 | -2506.0528 | -2562.3347 | -2619.9469 | -2678.9213 | -2739.2907 | -2801.0887 | -2864.3497 | -2929.1089 | -2995.4025 | -3063.2672 | -3132.7411 | -3203.8628 | -3276.6722 | -3351.2098 | -3427.5173 | -3505.6374 | -3585.6139 | -3667.4914 | -3751.3159 | -3837.1343 | -3924.9947 | -4014.9464 | -4107.0399 | -4201.3268 | -2148.9301
| EBITDA | EUR k |  |  |  | 260349.2956 | 0 | 0 | 0 | 0 | 0 | 4195.9659 | 8446.312 | 8470.7351 | 8494.4963 | 8517.5709 | 8539.9334 | 8561.5577 | 8582.417 | 8602.4837 | 8621.7297 | 8640.1258 | 8657.6423 | 8674.2487 | 8689.9135 | 8704.6046 | 8718.2889 | 8730.9324 | 8742.5005 | 8752.9573 | 8762.2662 | 8770.3896 | 8777.2889 | 8782.9244 | 8787.2556 | 8790.2407 | 8791.837 | 8792.0005 | 8790.6863 | 8787.848 | 8783.4384 | 4388.7044
| Net cash flow | EUR k |  |  |  | 199712.9744 | -386.3014 | -2513.2371 | -10089.6937 | -12009.375 | -24018.75 | -8813.4091 | 8446.312 | 9861.146 | 8494.4963 | 8517.5709 | 8539.9334 | 8561.5577 | 8582.417 | 8602.4837 | 8621.7297 | 8640.1258 | 8657.6423 | 8674.2487 | 8689.9135 | 8704.6046 | 8718.2889 | 8730.9324 | 8742.5005 | 8752.9573 | 8762.2662 | 8770.3896 | 8777.2889 | 8782.9244 | 8787.2556 | 8790.2407 | 8791.837 | 8792.0005 | 8790.6863 | 8787.848 | 8783.4384 | 4388.7044
| Cumulative net cash flow | EUR k |  |  |  |  | -386.3014 | -2899.5385 | -12989.2322 | -24998.6072 | -49017.3572 | -57830.7663 | -49384.4543 | -39523.3083 | -31028.812 | -22511.2411 | -13971.3077 | -5409.75 | 3172.6669 | 11775.1507 | 20396.8803 | 29037.0061 | 37694.6484 | 46368.8971 | 55058.8105 | 63763.4151 | 72481.7039 | 81212.6364 | 89955.1369 | 98708.0942 | 107470.3604 | 116240.75 | 125018.0389 | 133800.9634 | 142588.219 | 151378.4597 | 160170.2967 | 168962.2972 | 177752.9835 | 186540.8315 | 195324.27 | 199712.9744
Iváncsa
| Spending (capex, fees, securities, devex), net | EUR k |  |  |  | -77626.9767 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -19998.125 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 495700.7619 | 0 | 0 | 0 | 0 | 0 | 7408.8 | 14965.776 | 15070.0875 | 15175.126 | 15280.8966 | 15387.4044 | 15494.6547 | 15602.6524 | 15711.4029 | 15820.9114 | 15931.1831 | 16042.2235 | 16154.0378 | 16266.6314 | 16380.0098 | 16494.1785 | 16609.1429 | 16724.9086 | 16841.4813 | 16958.8664 | 17077.0697 | 17196.0969 | 17315.9536 | 17436.6458 | 17558.1793 | 17680.5598 | 17803.7933 | 17927.8857 | 18052.8431 | 18178.6714 | 9152.6884
| Opex | EUR k |  |  |  | -144722.9665 | 0 | 0 | 0 | 0 | 0 | -1773.5327 | -3618.7155 | -3686.9492 | -3756.831 | -3828.4004 | -3901.6976 | -3976.7642 | -4053.6427 | -4132.3764 | -4213.0099 | -4295.5888 | -4380.1597 | -4466.7706 | -4555.4703 | -4646.3092 | -4739.3385 | -4834.6109 | -4932.1803 | -5032.1021 | -5134.4326 | -5239.2299 | -5346.5534 | -5456.4637 | -5569.0233 | -5684.2957 | -5802.3464 | -5923.2424 | -6047.052 | -6173.8455 | -6303.6948 | -3218.3368
| EBITDA | EUR k |  |  |  | 350977.7954 | 0 | 0 | 0 | 0 | 0 | 5635.2673 | 11347.0605 | 11383.1382 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Net cash flow | EUR k |  |  |  | 273350.8187 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -14362.8577 | 11347.0605 | 13877.6588 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Cumulative net cash flow | EUR k |  |  |  |  | -657.1233 | -4269.1781 | -7628.9973 | -25127.1223 | -60123.3723 | -74486.23 | -63139.1695 | -49261.5107 | -37843.2158 | -26390.7195 | -14905.0127 | -3387.1223 | 8161.8874 | 19740.9139 | 31348.8154 | 42984.4097 | 54646.4734 | 66333.7406 | 78044.9017 | 89778.6023 | 101533.4424 | 113307.9744 | 125100.7027 | 136910.0819 | 148734.5157 | 160572.3554 | 172421.8989 | 184281.3888 | 196149.0114 | 208022.8949 | 219901.1083 | 231781.6592 | 243662.4929 | 255541.4905 | 267416.4671 | 273350.8187
Dunaújváros
| Spending (capex, fees, securities, devex), net | EUR k |  |  |  | -77626.9767 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -19998.125 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenue | EUR k |  |  |  | 495700.7619 | 0 | 0 | 0 | 0 | 0 | 7408.8 | 14965.776 | 15070.0875 | 15175.126 | 15280.8966 | 15387.4044 | 15494.6547 | 15602.6524 | 15711.4029 | 15820.9114 | 15931.1831 | 16042.2235 | 16154.0378 | 16266.6314 | 16380.0098 | 16494.1785 | 16609.1429 | 16724.9086 | 16841.4813 | 16958.8664 | 17077.0697 | 17196.0969 | 17315.9536 | 17436.6458 | 17558.1793 | 17680.5598 | 17803.7933 | 17927.8857 | 18052.8431 | 18178.6714 | 9152.6884
| Opex | EUR k |  |  |  | -144722.9665 | 0 | 0 | 0 | 0 | 0 | -1773.5327 | -3618.7155 | -3686.9492 | -3756.831 | -3828.4004 | -3901.6976 | -3976.7642 | -4053.6427 | -4132.3764 | -4213.0099 | -4295.5888 | -4380.1597 | -4466.7706 | -4555.4703 | -4646.3092 | -4739.3385 | -4834.6109 | -4932.1803 | -5032.1021 | -5134.4326 | -5239.2299 | -5346.5534 | -5456.4637 | -5569.0233 | -5684.2957 | -5802.3464 | -5923.2424 | -6047.052 | -6173.8455 | -6303.6948 | -3218.3368
| EBITDA | EUR k |  |  |  | 350977.7954 | 0 | 0 | 0 | 0 | 0 | 5635.2673 | 11347.0605 | 11383.1382 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Net cash flow | EUR k |  |  |  | 273350.8187 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -14362.8577 | 11347.0605 | 13877.6588 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Cumulative net cash flow | EUR k |  |  |  |  | -657.1233 | -4269.1781 | -7628.9973 | -25127.1223 | -60123.3723 | -74486.23 | -63139.1695 | -49261.5107 | -37843.2158 | -26390.7195 | -14905.0127 | -3387.1223 | 8161.8874 | 19740.9139 | 31348.8154 | 42984.4097 | 54646.4734 | 66333.7406 | 78044.9017 | 89778.6023 | 101533.4424 | 113307.9744 | 125100.7027 | 136910.0819 | 148734.5157 | 160572.3554 | 172421.8989 | 184281.3888 | 196149.0114 | 208022.8949 | 219901.1083 | 231781.6592 | 243662.4929 | 255541.4905 | 267416.4671 | 273350.8187
x | Detailed calculations: claims, waterfall, dated flows, timelines, checks – expand the group |  | Bora | Iváncsa | Dunaújváros | Total
x | RtB exit: FEP claims at the sale (interest to the freeze, act/365, capitalised 31-Dec) |  | Bora | Iváncsa | Dunaújváros | Total
| Interest accrual end (earlier of freeze and sale) | date | 2029-06-30 | 2029-06-30 | 2029-06-30
| Accrual factor in the end year, cash rate | x | 1.0595 | 1.0595 | 1.0595
| Accrual factor in the end year, devex rate | x | 1.0992 | 1.0992 | 1.0992
| Days to the first 31-Dec from bid submission | days | 63 | 63 | 63
| Accrual factor from bid submission | x | 1.3566 | 1.3566 | 1.3566
| Days to the first 31-Dec from performance security posting | days | 351 | 351 | 351
| Accrual factor from performance security posting | x | 1.3236 | 1.3236 | 1.3236
| Days to the first 31-Dec from TSO security payment | days | 351 | 351 | 351
| Accrual factor from TSO security payment | x | 1.3236 | 1.3236 | 1.3236
| Days to the first 31-Dec from connection agreement (HCSSZ) | days | 92 | 92 | 92
| Accrual factor from connection agreement (HCSSZ) | x | 1.0916 | 1.0916 | 1.0916
| Days to the first 31-Dec from devex payment (average) | days | 1 | 1 | 1
| Accrual factor from devex payment (average) | x | 1.3197 | 1.3197 | 1.3197
| Claim: participation fee (not reimbursed) | EUR k | 2.9307 | 2.9307 | 2.9307 | 8.7922
| Claim: bid security (cash) | EUR k | 99.1566 | 177.8957 | 177.8957 | 454.9481
| Claim: performance security payable (cash) | EUR k | 359.9313 | 645.7487 | 645.7487 | 1651.4287
| Claim: TSO connection-request security | EUR k | 199.4693 | 199.4693 | 199.4693 | 598.408
| Claim: direct connection fee | EUR k | 63.7544 | 115.3822 | 115.3822 | 294.5189
| Claim: indirect connection fee, payable | EUR k | 859.9904 | 192.2203 | 192.2203 | 1244.4309
| Claim: devex, MAX(20 % accrued, 1× principal) | EUR k | 784.47 | 1000 | 1000 | 2784.47
| Total FEP claims | EUR k | 2369.7028 | 2333.647 | 2333.647 | 7036.9968
| Developer success fee due (DSA, capped) | EUR k | 364.5833 | 0 | 0 | 364.5833
x | RtB exit: waterfall at the sale |  | Bora | Iváncsa | Dunaújváros | Total
| RtB premium | EUR k | 7500 | 7500 | 7500 | 22500
| Buyer reimburses securities and connection fees at cost | EUR k | 12096.543 | 6470.7781 | 6470.7781 | 25038.0992
| Total proceeds | EUR k | 19596.543 | 13970.7781 | 13970.7781 | 47538.0992
| Less sale costs | EUR k | -250 | -250 | -250 | -750
| Less securities and fees repaid to FEP | EUR k | -12096.543 | -6470.7781 | -6470.7781 | -25038.0992
| Less FEP claims at 12 % | EUR k | -1585.2328 | -1333.647 | -1333.647 | -4252.5268
| Less FEP devex return | EUR k | -784.47 | -1000 | -1000 | -2784.47
| Less developer success fee (DSA) | EUR k | -364.5833 | 0 | 0 | -364.5833
| Distributable proceeds | EUR k | 4515.7139 | 4916.353 | 4916.353 | 14348.4199
| FEP share of distributable | EUR k | 3160.9997 | 4916.353 | 4916.353 | 12993.7057
| Developer share of distributable | EUR k | 1354.7142 | 0 | 0 | 1354.7142
| FEP cash flows, dated (outlays, then receipts at the sale) |  | Bora | Iváncsa | Dunaújváros | Total | 2026: Date: Bora; 2027: Iváncsa; 2028: Dunaújváros
| Signing fee and DD | EUR k | -100 | -150 | -150 | -400 | 2026: 2026-07-31; 2027: 2026-07-31; 2028: 2026-07-31
| Participation fee | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Bid security | EUR k | -278.0822 | -498.9041 | -498.9041 | -1275.8904 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Performance security payable | EUR k | -1112.3288 | -1995.6164 | -1995.6164 | -5103.5616 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| TSO connection-request security | EUR k | -616.4384 | -616.4384 | -616.4384 | -1849.3151 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| Direct connection fee | EUR k | -696.3641 | -1260.274 | -1260.274 | -3216.9121 | 2026: 2028-10-01; 2027: 2028-10-01; 2028: 2028-10-01
| Indirect connection fee, payable | EUR k | -9393.3296 | -2099.5452 | -2099.5452 | -13592.42 | 2026: 2028-10-01; 2027: 2028-10-01; 2028: 2028-10-01
| Devex | EUR k | -784.47 | -1000 | -1000 | -2784.47 | 2026: 2027-12-31; 2027: 2027-12-31; 2028: 2027-12-31
| FEP receipts at the sale (repaid, claims, share) | EUR k | 17627.2455 | 13720.7781 | 13720.7781 | 45068.8017 | 2026: 2029-09-30; 2027: 2029-09-30; 2028: 2029-09-30
| FEP profit, pre-tax | EUR k | 4638.0133 | 6091.7808 | 6091.7808 | 16821.575
| CIT: claims taxed as interest; share gain exempt if share deal | EUR k | -355.4554 | -350.0471 | -350.0471 | -1055.5495
| FEP profit, post-tax | EUR k | 4282.5579 | 5741.7338 | 5741.7338 | 15766.0254
x | RtB exit, Case B: buyer pays the grid connection fees directly (FEP does not pre-fund them) |  | Bora | Iváncsa | Dunaújváros | Total
| Grid connection fees paid by the buyer at HCSSZ (direct + indirect, payable) | EUR k | 10089.6937 | 3359.8192 | 3359.8192 | 16809.3321
| FEP cash out to RtB, Case B (peak exposure) | EUR k | 2899.5385 | 4269.1781 | 4269.1781 | 11437.8947
| Total FEP claims, Case B (no claims on connection fees) | EUR k | 1445.958 | 2026.0445 | 2026.0445 | 5498.0469
Waterfall at the sale, Case B
| RtB premium | EUR k | 7500 | 7500 | 7500 | 22500
| Buyer reimburses securities at cost (no connection fees to reimburse) | EUR k | 2006.8493 | 3110.9589 | 3110.9589 | 8228.7671
| Total proceeds | EUR k | 9506.8493 | 10610.9589 | 10610.9589 | 30728.7671
| Less sale costs | EUR k | -250 | -250 | -250 | -750
| Less securities repaid to FEP | EUR k | -2006.8493 | -3110.9589 | -3110.9589 | -8228.7671
| Less FEP claims at 12 % | EUR k | -661.488 | -1026.0445 | -1026.0445 | -2713.5769
| Less FEP devex return | EUR k | -784.47 | -1000 | -1000 | -2784.47
| Less developer success fee (DSA) | EUR k | -364.5833 | 0 | 0 | -364.5833
| Distributable proceeds | EUR k | 5439.4587 | 5223.9555 | 5223.9555 | 15887.3698
| FEP share of distributable | EUR k | 3807.6211 | 5223.9555 | 5223.9555 | 14255.5321
| Developer share of distributable | EUR k | 1631.8376 | 0 | 0 | 1631.8376
| FEP cash flows, dated, Case B (no connection-fee outlays) |  | Bora | Iváncsa | Dunaújváros | Total | 2026: Date: Bora; 2027: Iváncsa; 2028: Dunaújváros
| Signing fee and DD | EUR k | -100 | -150 | -150 | -400 | 2026: 2026-07-31; 2027: 2026-07-31; 2028: 2026-07-31
| Participation fee | EUR k | -8.2192 | -8.2192 | -8.2192 | -24.6575 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Bid security | EUR k | -278.0822 | -498.9041 | -498.9041 | -1275.8904 | 2026: 2026-10-30; 2027: 2026-10-30; 2028: 2026-10-30
| Performance security payable | EUR k | -1112.3288 | -1995.6164 | -1995.6164 | -5103.5616 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| TSO connection-request security | EUR k | -616.4384 | -616.4384 | -616.4384 | -1849.3151 | 2026: 2027-01-15; 2027: 2027-01-15; 2028: 2027-01-15
| Devex | EUR k | -784.47 | -1000 | -1000 | -2784.47 | 2026: 2027-12-31; 2027: 2027-12-31; 2028: 2027-12-31
| FEP receipts at the sale (repaid, claims, share) | EUR k | 7260.4284 | 10360.9589 | 10360.9589 | 27982.3462 | 2026: 2029-09-30; 2027: 2029-09-30; 2028: 2029-09-30
| FEP profit, pre-tax | EUR k | 4360.8899 | 6091.7808 | 6091.7808 | 16544.4515
| CIT: claims taxed as interest; share gain exempt if share deal | EUR k | -216.8937 | -303.9067 | -303.9067 | -824.707
| FEP profit, post-tax | EUR k | 4143.9962 | 5787.8742 | 5787.8742 | 15719.7445
| MOIC, pre-tax | x | 2.504 | 2.4269 | 2.4269 | 2.4465
| IRR, pre-tax | % | 43.87% | 41.42% | 41.42%
| Memo: pre-tax profit vs Case A (connection-fee claims no longer earned, FEP share) | EUR k | -277.1234 | 0 | 0 | -277.1234
x | Annual timeline |  |  |  |  | Total
| Year | year |  |  |  |  | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061
| Year end | date |  |  |  |  | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31 | 2032-12-31 | 2033-12-31 | 2034-12-31 | 2035-12-31 | 2036-12-31 | 2037-12-31 | 2038-12-31 | 2039-12-31 | 2040-12-31 | 2041-12-31 | 2042-12-31 | 2043-12-31 | 2044-12-31 | 2045-12-31 | 2046-12-31 | 2047-12-31 | 2048-12-31 | 2049-12-31 | 2050-12-31 | 2051-12-31 | 2052-12-31 | 2053-12-31 | 2054-12-31 | 2055-12-31 | 2056-12-31 | 2057-12-31 | 2058-12-31 | 2059-12-31 | 2060-12-31 | 2061-12-31
x | Bora: annual cash flow (EUR k) |  | Value |  |  | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months | 24 |  |  |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months | 360 |  |  |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FEP outlays at their dates (signing, fee, securities, fees, devex) | EUR k |  |  |  | -12989.2322 | -386.3014 | -2513.2371 | -10089.6937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 1390.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -48037.5 | 0 | 0 | 0 | -12009.375 | -24018.75 | -12009.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -1000 | 0 | 0 | 0 | 0 | 0 | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -60636.3212 | -386.3014 | -2513.2371 | -10089.6937 | -12009.375 | -24018.75 | -13009.375 | 0 | 1390.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 3383.6499 | 0 | 0 | 0 | 0 | 0 | 58.8 | 117.6 | 117.2472 | 116.8955 | 116.5448 | 116.1951 | 115.8466 | 115.499 | 115.1525 | 114.8071 | 114.4626 | 114.1192 | 113.7769 | 113.4356 | 113.0953 | 112.756 | 112.4177 | 112.0804 | 111.7442 | 111.409 | 111.0747 | 110.7415 | 110.4093 | 110.0781 | 109.7478 | 109.4186 | 109.0903 | 108.7631 | 108.4368 | 108.1115 | 53.8936
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 354071.9728 | 0 | 0 | 0 | 0 | 0 | 5292 | 10689.84 | 10764.3482 | 10839.3757 | 10914.9261 | 10991.0032 | 11067.6105 | 11144.7517 | 11222.4306 | 11300.651 | 11379.4165 | 11458.731 | 11538.5984 | 11619.0224 | 11700.007 | 11781.5561 | 11863.6735 | 11946.3633 | 12029.6295 | 12113.476 | 12197.9069 | 12282.9263 | 12368.5383 | 12454.747 | 12541.5566 | 12628.9713 | 12716.9952 | 12805.6327 | 12894.8879 | 12984.7653 | 6537.6345
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -55564.3587 | 0 | 0 | 0 | 0 | 0 | -625 | -1281.25 | -1313.2812 | -1346.1133 | -1379.7661 | -1414.2603 | -1449.6168 | -1485.8572 | -1523.0036 | -1561.0787 | -1600.1057 | -1640.1083 | -1681.111 | -1723.1388 | -1766.2173 | -1810.3727 | -1855.632 | -1902.0228 | -1949.5734 | -1998.3127 | -2048.2706 | -2099.4773 | -2151.9642 | -2205.7634 | -2260.9074 | -2317.4301 | -2375.3659 | -2434.75 | -2495.6188 | -2558.0092 | -1310.9797
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -24930.1031 | 0 | 0 | 0 | 0 | 0 | -294 | -602.7 | -615.9142 | -629.4181 | -643.2181 | -657.3207 | -671.7324 | -686.4602 | -701.5108 | -716.8914 | -732.6093 | -748.6717 | -765.0863 | -781.8609 | -799.0032 | -816.5213 | -834.4235 | -852.7183 | -871.4141 | -890.5199 | -910.0445 | -929.9973 | -950.3874 | -971.2247 | -992.5188 | -1014.2798 | -1036.5178 | -1059.2435 | -1082.4674 | -1106.2005 | -565.227
| MEKH supervisory fee | EUR k |  |  |  | -354.072 | 0 | 0 | 0 | 0 | 0 | -5.292 | -10.6898 | -10.7643 | -10.8394 | -10.9149 | -10.991 | -11.0676 | -11.1448 | -11.2224 | -11.3007 | -11.3794 | -11.4587 | -11.5386 | -11.619 | -11.7 | -11.7816 | -11.8637 | -11.9464 | -12.0296 | -12.1135 | -12.1979 | -12.2829 | -12.3685 | -12.4547 | -12.5416 | -12.629 | -12.717 | -12.8056 | -12.8949 | -12.9848 | -6.5376
| Opex contingency | EUR k |  |  |  | -4125.7732 | 0 | 0 | 0 | 0 | 0 | -47.1521 | -96.6539 | -98.9679 | -101.3377 | -103.7646 | -106.25 | -108.7953 | -111.4019 | -114.0713 | -116.8052 | -119.6049 | -122.4721 | -125.4085 | -128.4156 | -131.4953 | -134.6493 | -137.8794 | -141.1874 | -144.5752 | -148.0448 | -151.5981 | -155.2371 | -158.964 | -162.7808 | -166.6898 | -170.6931 | -174.7931 | -178.9921 | -183.2925 | -187.6967 | -96.1037
| Community contribution | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HIPA local business tax | EUR k |  |  |  | -7081.4395 | 0 | 0 | 0 | 0 | 0 | -105.84 | -213.7968 | -215.287 | -216.7875 | -218.2985 | -219.8201 | -221.3522 | -222.895 | -224.4486 | -226.013 | -227.5883 | -229.1746 | -230.772 | -232.3804 | -234.0001 | -235.6311 | -237.2735 | -238.9273 | -240.5926 | -242.2695 | -243.9581 | -245.6585 | -247.3708 | -249.0949 | -250.8311 | -252.5794 | -254.3399 | -256.1127 | -257.8978 | -259.6953 | -130.7527
| Total opex | EUR k |  |  |  | -93722.6772 | 0 | 0 | 0 | 0 | 0 | -1096.0341 | -2243.528 | -2293.6131 | -2344.8794 | -2397.3553 | -2451.0698 | -2506.0528 | -2562.3347 | -2619.9469 | -2678.9213 | -2739.2907 | -2801.0887 | -2864.3497 | -2929.1089 | -2995.4025 | -3063.2672 | -3132.7411 | -3203.8628 | -3276.6722 | -3351.2098 | -3427.5173 | -3505.6374 | -3585.6139 | -3667.4914 | -3751.3159 | -3837.1343 | -3924.9947 | -4014.9464 | -4107.0399 | -4201.3268 | -2148.9301
| EBITDA | EUR k |  |  |  | 260349.2956 | 0 | 0 | 0 | 0 | 0 | 4195.9659 | 8446.312 | 8470.7351 | 8494.4963 | 8517.5709 | 8539.9334 | 8561.5577 | 8582.417 | 8602.4837 | 8621.7297 | 8640.1258 | 8657.6423 | 8674.2487 | 8689.9135 | 8704.6046 | 8718.2889 | 8730.9324 | 8742.5005 | 8752.9573 | 8762.2662 | 8770.3896 | 8777.2889 | 8782.9244 | 8787.2556 | 8790.2407 | 8791.837 | 8792.0005 | 8790.6863 | 8787.848 | 8783.4384 | 4388.7044
| Unlevered pre-tax cash flow | EUR k |  |  |  | 199712.9744 | -386.3014 | -2513.2371 | -10089.6937 | -12009.375 | -24018.75 | -8813.4091 | 8446.312 | 9861.146 | 8494.4963 | 8517.5709 | 8539.9334 | 8561.5577 | 8582.417 | 8602.4837 | 8621.7297 | 8640.1258 | 8657.6423 | 8674.2487 | 8689.9135 | 8704.6046 | 8718.2889 | 8730.9324 | 8742.5005 | 8752.9573 | 8762.2662 | 8770.3896 | 8777.2889 | 8782.9244 | 8787.2556 | 8790.2407 | 8791.837 | 8792.0005 | 8790.6863 | 8787.848 | 8783.4384 | 4388.7044
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 96859.9876 | 0 | 0 | 0 | 0 | 0 | 4036.2933 | 7521.467 | 6984.4591 | 6485.2326 | 6021.1567 | 5588.6039 | 5187.7361 | 4815.1624 | 4468.9082 | 4146.2611 | 3847.3222 | 3569.5575 | 3311.4854 | 3071.0798 | 2848.3998 | 2641.5534 | 2449.4299 | 2270.5168 | 2104.845 | 1951.0033 | 1808.1593 | 1675.1853 | 1552.0934 | 1437.8322 | 1331.7784 | 1233.0921 | 1141.7731 | 1057.0393 | 978.4241 | 905.3028 | 418.8339
| Developer JV buyout at RtB (developer waterfall share + DSA, at the sale date) | EUR k |  |  |  | -1719.2975 | 0 | 0 | 0 | -1719.2975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: FEP cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 34504.3688 | -386.3014 | -2513.2371 | -10089.6937 | -13728.6725 | -24018.75 | 85241.0235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | Iváncsa: annual cash flow (EUR k) |  |  | Value |  | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months |  | 24 |  |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months |  | 360 |  |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FEP outlays at their dates (signing, fee, securities, fees, devex) | EUR k |  |  |  | -7628.9973 | -657.1233 | -3612.0548 | -3359.8192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -69992.5 | 0 | 0 | 0 | -17498.125 | -34996.25 | -17498.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -2500 | 0 | 0 | 0 | 0 | 0 | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -77626.9767 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -19998.125 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 4737.1098 | 0 | 0 | 0 | 0 | 0 | 82.32 | 164.64 | 164.1461 | 163.6536 | 163.1627 | 162.6732 | 162.1852 | 161.6986 | 161.2135 | 160.7299 | 160.2477 | 159.7669 | 159.2876 | 158.8098 | 158.3334 | 157.8584 | 157.3848 | 156.9126 | 156.4419 | 155.9726 | 155.5046 | 155.0381 | 154.573 | 154.1093 | 153.647 | 153.186 | 152.7265 | 152.2683 | 151.8115 | 151.3561 | 75.451
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 495700.7619 | 0 | 0 | 0 | 0 | 0 | 7408.8 | 14965.776 | 15070.0875 | 15175.126 | 15280.8966 | 15387.4044 | 15494.6547 | 15602.6524 | 15711.4029 | 15820.9114 | 15931.1831 | 16042.2235 | 16154.0378 | 16266.6314 | 16380.0098 | 16494.1785 | 16609.1429 | 16724.9086 | 16841.4813 | 16958.8664 | 17077.0697 | 17196.0969 | 17315.9536 | 17436.6458 | 17558.1793 | 17680.5598 | 17803.7933 | 17927.8857 | 18052.8431 | 18178.6714 | 9152.6884
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -77790.1022 | 0 | 0 | 0 | 0 | 0 | -875 | -1793.75 | -1838.5937 | -1884.5586 | -1931.6726 | -1979.9644 | -2029.4635 | -2080.2001 | -2132.2051 | -2185.5102 | -2240.148 | -2296.1517 | -2353.5554 | -2412.3943 | -2472.7042 | -2534.5218 | -2597.8848 | -2662.832 | -2729.4028 | -2797.6378 | -2867.5788 | -2939.2682 | -3012.7499 | -3088.0687 | -3165.2704 | -3244.4022 | -3325.5122 | -3408.65 | -3493.8663 | -3581.2129 | -1835.3716
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -34902.1443 | 0 | 0 | 0 | 0 | 0 | -411.6 | -843.78 | -862.2799 | -881.1854 | -900.5054 | -920.2489 | -940.4254 | -961.0442 | -982.1151 | -1003.648 | -1025.653 | -1048.1404 | -1071.1209 | -1094.6052 | -1118.6044 | -1143.1298 | -1168.193 | -1193.8056 | -1219.9798 | -1246.7278 | -1274.0623 | -1301.9962 | -1330.5424 | -1359.7146 | -1389.5263 | -1419.9917 | -1451.125 | -1482.9409 | -1515.4544 | -1548.6807 | -791.3178
| MEKH supervisory fee | EUR k |  |  |  | -495.7008 | 0 | 0 | 0 | 0 | 0 | -7.4088 | -14.9658 | -15.0701 | -15.1751 | -15.2809 | -15.3874 | -15.4947 | -15.6027 | -15.7114 | -15.8209 | -15.9312 | -16.0422 | -16.154 | -16.2666 | -16.38 | -16.4942 | -16.6091 | -16.7249 | -16.8415 | -16.9589 | -17.0771 | -17.1961 | -17.316 | -17.4366 | -17.5582 | -17.6806 | -17.8038 | -17.9279 | -18.0528 | -18.1787 | -9.1527
| Opex contingency | EUR k |  |  |  | -5742.7439 | 0 | 0 | 0 | 0 | 0 | -65.6379 | -134.5467 | -137.7671 | -141.0651 | -144.4426 | -147.9014 | -151.4436 | -155.0711 | -158.7861 | -162.5906 | -166.4868 | -170.4769 | -174.5632 | -178.748 | -183.0338 | -187.4228 | -191.9178 | -196.5212 | -201.2356 | -206.0637 | -211.0083 | -216.0722 | -221.2584 | -226.5696 | -232.0091 | -237.5799 | -243.2851 | -249.1281 | -255.1121 | -261.2406 | -133.7586
| Community contribution | EUR k |  |  |  | -14211.3294 | 0 | 0 | 0 | 0 | 0 | -246.96 | -493.92 | -492.4382 | -490.9609 | -489.488 | -488.0196 | -486.5555 | -485.0959 | -483.6406 | -482.1896 | -480.7431 | -479.3008 | -477.8629 | -476.4294 | -475.0001 | -473.5751 | -472.1543 | -470.7379 | -469.3257 | -467.9177 | -466.5139 | -465.1144 | -463.719 | -462.3279 | -460.9409 | -459.5581 | -458.1794 | -456.8049 | -455.4345 | -454.0682 | -226.353
| HIPA local business tax | EUR k |  |  |  | -9914.0152 | 0 | 0 | 0 | 0 | 0 | -148.176 | -299.3155 | -301.4017 | -303.5025 | -305.6179 | -307.7481 | -309.8931 | -312.053 | -314.2281 | -316.4182 | -318.6237 | -320.8445 | -323.0808 | -325.3326 | -327.6002 | -329.8836 | -332.1829 | -334.4982 | -336.8296 | -339.1773 | -341.5414 | -343.9219 | -346.3191 | -348.7329 | -351.1636 | -353.6112 | -356.0759 | -358.5577 | -361.0569 | -363.5734 | -183.0538
| Total opex | EUR k |  |  |  | -144722.9665 | 0 | 0 | 0 | 0 | 0 | -1773.5327 | -3618.7155 | -3686.9492 | -3756.831 | -3828.4004 | -3901.6976 | -3976.7642 | -4053.6427 | -4132.3764 | -4213.0099 | -4295.5888 | -4380.1597 | -4466.7706 | -4555.4703 | -4646.3092 | -4739.3385 | -4834.6109 | -4932.1803 | -5032.1021 | -5134.4326 | -5239.2299 | -5346.5534 | -5456.4637 | -5569.0233 | -5684.2957 | -5802.3464 | -5923.2424 | -6047.052 | -6173.8455 | -6303.6948 | -3218.3368
| EBITDA | EUR k |  |  |  | 350977.7954 | 0 | 0 | 0 | 0 | 0 | 5635.2673 | 11347.0605 | 11383.1382 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Unlevered pre-tax cash flow | EUR k |  |  |  | 273350.8187 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -14362.8577 | 11347.0605 | 13877.6588 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 130416.0013 | 0 | 0 | 0 | 0 | 0 | 5420.8237 | 10104.5926 | 9385.8518 | 8717.4443 | 8095.885 | 7516.3426 | 6979.0776 | 6479.5684 | 6015.1938 | 5582.3359 | 5181.1607 | 4808.2844 | 4461.7369 | 4138.8111 | 3839.6081 | 3561.5977 | 3303.3002 | 3062.6922 | 2839.8302 | 2632.8245 | 2440.5643 | 2261.539 | 2095.7753 | 1941.8634 | 1798.9703 | 1665.9693 | 1542.8677 | 1428.6152 | 1322.5875 | 1223.9454 | 566.342
| Developer JV buyout at RtB (developer waterfall share + DSA, at the sale date) | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: FEP cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 52789.0246 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | 112912.3969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | Dunaújváros: annual cash flow (EUR k) |  |  |  | Value | Total
| Years from the COD year | years |  |  |  |  | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Construction months by year end (value: construction period) | months |  |  | 24 |  | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366 | 378 | 390
| Construction share of the year (NTP to COD) | % |  |  |  | 1 | 0% | 0% | 0% | 25% | 50% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Months operated by year end (value: operating life) | months |  |  | 360 |  | -54 | -42 | -30 | -18 | -6 | 6 | 18 | 30 | 42 | 54 | 66 | 78 | 90 | 102 | 114 | 126 | 138 | 150 | 162 | 174 | 186 | 198 | 210 | 222 | 234 | 246 | 258 | 270 | 282 | 294 | 306 | 318 | 330 | 342 | 354 | 366
| Operating share of the year (COD to end of life) | % |  |  |  | 30 | 0% | 0% | 0% | 0% | 0% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50%
| COD year flag | flag |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FEP outlays at their dates (signing, fee, securities, fees, devex) | EUR k |  |  |  | -7628.9973 | -657.1233 | -3612.0548 | -3359.8192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Performance security released (bid security included) | EUR k |  |  |  | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction capex (straight-line NTP to COD) | EUR k |  |  |  | -69992.5 | 0 | 0 | 0 | -17498.125 | -34996.25 | -17498.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Municipal one-off at COD | EUR k |  |  |  | -2500 | 0 | 0 | 0 | 0 | 0 | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment cash flow | EUR k |  |  |  | -77626.9767 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -19998.125 | 0 | 2494.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Degradation factor (from the first full year) | x |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.997 | 0.99401 | 0.99103 | 0.98805 | 0.98509 | 0.98213 | 0.97919 | 0.97625 | 0.97332 | 0.9704 | 0.96749 | 0.96459 | 0.96169 | 0.95881 | 0.95593 | 0.95307 | 0.95021 | 0.94736 | 0.94451 | 0.94168 | 0.93885 | 0.93604 | 0.93323 | 0.93043 | 0.92764 | 0.92486 | 0.92208 | 0.91932 | 0.91656
| Net generation | GWh |  |  |  | 4737.1098 | 0 | 0 | 0 | 0 | 0 | 82.32 | 164.64 | 164.1461 | 163.6536 | 163.1627 | 162.6732 | 162.1852 | 161.6986 | 161.2135 | 160.7299 | 160.2477 | 159.7669 | 159.2876 | 158.8098 | 158.3334 | 157.8584 | 157.3848 | 156.9126 | 156.4419 | 155.9726 | 155.5046 | 155.0381 | 154.573 | 154.1093 | 153.647 | 153.186 | 152.7265 | 152.2683 | 151.8115 | 151.3561 | 75.451
| PPA price | EUR/MWh |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 90 | 90.9 | 91.809 | 92.7271 | 93.6544 | 94.5909 | 95.5368 | 96.4922 | 97.4571 | 98.4317 | 99.416 | 100.4102 | 101.4143 | 102.4284 | 103.4527 | 104.4872 | 105.5321 | 106.5874 | 107.6533 | 108.7298 | 109.8171 | 110.9153 | 112.0244 | 113.1447 | 114.2761 | 115.4189 | 116.5731 | 117.7388 | 118.9162 | 120.1053 | 121.3064
| Revenue | EUR k |  |  |  | 495700.7619 | 0 | 0 | 0 | 0 | 0 | 7408.8 | 14965.776 | 15070.0875 | 15175.126 | 15280.8966 | 15387.4044 | 15494.6547 | 15602.6524 | 15711.4029 | 15820.9114 | 15931.1831 | 16042.2235 | 16154.0378 | 16266.6314 | 16380.0098 | 16494.1785 | 16609.1429 | 16724.9086 | 16841.4813 | 16958.8664 | 17077.0697 | 17196.0969 | 17315.9536 | 17436.6458 | 17558.1793 | 17680.5598 | 17803.7933 | 17927.8857 | 18052.8431 | 18178.6714 | 9152.6884
| Opex index (COD year = 1) | x |  |  |  |  | 0.88385 | 0.90595 | 0.9286 | 0.95181 | 0.97561 | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976
| O&M, BoP, lease, insurance, management, property tax | EUR k |  |  |  | -77790.1022 | 0 | 0 | 0 | 0 | 0 | -875 | -1793.75 | -1838.5937 | -1884.5586 | -1931.6726 | -1979.9644 | -2029.4635 | -2080.2001 | -2132.2051 | -2185.5102 | -2240.148 | -2296.1517 | -2353.5554 | -2412.3943 | -2472.7042 | -2534.5218 | -2597.8848 | -2662.832 | -2729.4028 | -2797.6378 | -2867.5788 | -2939.2682 | -3012.7499 | -3088.0687 | -3165.2704 | -3244.4022 | -3325.5122 | -3408.65 | -3493.8663 | -3581.2129 | -1835.3716
| Administration, audit, compliance | EUR k |  |  |  | -1666.9308 | 0 | 0 | 0 | 0 | 0 | -18.75 | -38.4375 | -39.3984 | -40.3834 | -41.393 | -42.4278 | -43.4885 | -44.5757 | -45.6901 | -46.8324 | -48.0032 | -49.2032 | -50.4333 | -51.6942 | -52.9865 | -54.3112 | -55.669 | -57.0607 | -58.4872 | -59.9494 | -61.4481 | -62.9843 | -64.5589 | -66.1729 | -67.8272 | -69.5229 | -71.261 | -73.0425 | -74.8686 | -76.7403 | -39.3294
| Balancing and grid charges | EUR k |  |  |  | -34902.1443 | 0 | 0 | 0 | 0 | 0 | -411.6 | -843.78 | -862.2799 | -881.1854 | -900.5054 | -920.2489 | -940.4254 | -961.0442 | -982.1151 | -1003.648 | -1025.653 | -1048.1404 | -1071.1209 | -1094.6052 | -1118.6044 | -1143.1298 | -1168.193 | -1193.8056 | -1219.9798 | -1246.7278 | -1274.0623 | -1301.9962 | -1330.5424 | -1359.7146 | -1389.5263 | -1419.9917 | -1451.125 | -1482.9409 | -1515.4544 | -1548.6807 | -791.3178
| MEKH supervisory fee | EUR k |  |  |  | -495.7008 | 0 | 0 | 0 | 0 | 0 | -7.4088 | -14.9658 | -15.0701 | -15.1751 | -15.2809 | -15.3874 | -15.4947 | -15.6027 | -15.7114 | -15.8209 | -15.9312 | -16.0422 | -16.154 | -16.2666 | -16.38 | -16.4942 | -16.6091 | -16.7249 | -16.8415 | -16.9589 | -17.0771 | -17.1961 | -17.316 | -17.4366 | -17.5582 | -17.6806 | -17.8038 | -17.9279 | -18.0528 | -18.1787 | -9.1527
| Opex contingency | EUR k |  |  |  | -5742.7439 | 0 | 0 | 0 | 0 | 0 | -65.6379 | -134.5467 | -137.7671 | -141.0651 | -144.4426 | -147.9014 | -151.4436 | -155.0711 | -158.7861 | -162.5906 | -166.4868 | -170.4769 | -174.5632 | -178.748 | -183.0338 | -187.4228 | -191.9178 | -196.5212 | -201.2356 | -206.0637 | -211.0083 | -216.0722 | -221.2584 | -226.5696 | -232.0091 | -237.5799 | -243.2851 | -249.1281 | -255.1121 | -261.2406 | -133.7586
| Community contribution | EUR k |  |  |  | -14211.3294 | 0 | 0 | 0 | 0 | 0 | -246.96 | -493.92 | -492.4382 | -490.9609 | -489.488 | -488.0196 | -486.5555 | -485.0959 | -483.6406 | -482.1896 | -480.7431 | -479.3008 | -477.8629 | -476.4294 | -475.0001 | -473.5751 | -472.1543 | -470.7379 | -469.3257 | -467.9177 | -466.5139 | -465.1144 | -463.719 | -462.3279 | -460.9409 | -459.5581 | -458.1794 | -456.8049 | -455.4345 | -454.0682 | -226.353
| HIPA local business tax | EUR k |  |  |  | -9914.0152 | 0 | 0 | 0 | 0 | 0 | -148.176 | -299.3155 | -301.4017 | -303.5025 | -305.6179 | -307.7481 | -309.8931 | -312.053 | -314.2281 | -316.4182 | -318.6237 | -320.8445 | -323.0808 | -325.3326 | -327.6002 | -329.8836 | -332.1829 | -334.4982 | -336.8296 | -339.1773 | -341.5414 | -343.9219 | -346.3191 | -348.7329 | -351.1636 | -353.6112 | -356.0759 | -358.5577 | -361.0569 | -363.5734 | -183.0538
| Total opex | EUR k |  |  |  | -144722.9665 | 0 | 0 | 0 | 0 | 0 | -1773.5327 | -3618.7155 | -3686.9492 | -3756.831 | -3828.4004 | -3901.6976 | -3976.7642 | -4053.6427 | -4132.3764 | -4213.0099 | -4295.5888 | -4380.1597 | -4466.7706 | -4555.4703 | -4646.3092 | -4739.3385 | -4834.6109 | -4932.1803 | -5032.1021 | -5134.4326 | -5239.2299 | -5346.5534 | -5456.4637 | -5569.0233 | -5684.2957 | -5802.3464 | -5923.2424 | -6047.052 | -6173.8455 | -6303.6948 | -3218.3368
| EBITDA | EUR k |  |  |  | 350977.7954 | 0 | 0 | 0 | 0 | 0 | 5635.2673 | 11347.0605 | 11383.1382 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Unlevered pre-tax cash flow | EUR k |  |  |  | 273350.8187 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | -14362.8577 | 11347.0605 | 13877.6588 | 11418.2949 | 11452.4962 | 11485.7068 | 11517.8904 | 11549.0097 | 11579.0265 | 11607.9015 | 11635.5943 | 11662.0637 | 11687.2672 | 11711.1611 | 11733.7007 | 11754.84 | 11774.532 | 11792.7283 | 11809.3792 | 11824.4338 | 11837.8397 | 11849.5435 | 11859.4899 | 11867.6226 | 11873.8835 | 11878.2133 | 11880.5509 | 11880.8337 | 11878.9976 | 11874.9766 | 5934.3516
| Discount factor to COD (buyer's rate) | x |  |  |  |  | 1.4137 | 1.309 | 1.2118 | 1.122 | 1.0389 | 0.96195 | 0.8905 | 0.82454 | 0.76346 | 0.70691 | 0.65441 | 0.60593 | 0.56105 | 0.51949 | 0.48091 | 0.44529 | 0.4123 | 0.38176 | 0.35341 | 0.32723 | 0.30299 | 0.28055 | 0.25971 | 0.24047 | 0.22266 | 0.20617 | 0.19085 | 0.17672 | 0.16363 | 0.15151 | 0.14025 | 0.12986 | 0.12025 | 0.11134 | 0.10307 | 0.095435
| EBITDA valued at COD (total = COD price) | EUR k |  |  |  | 130416.0013 | 0 | 0 | 0 | 0 | 0 | 5420.8237 | 10104.5926 | 9385.8518 | 8717.4443 | 8095.885 | 7516.3426 | 6979.0776 | 6479.5684 | 6015.1938 | 5582.3359 | 5181.1607 | 4808.2844 | 4461.7369 | 4138.8111 | 3839.6081 | 3561.5977 | 3303.3002 | 3062.6922 | 2839.8302 | 2632.8245 | 2440.5643 | 2261.539 | 2095.7753 | 1941.8634 | 1798.9703 | 1665.9693 | 1542.8677 | 1428.6152 | 1322.5875 | 1223.9454 | 566.342
| Developer JV buyout at RtB (developer waterfall share + DSA, at the sale date) | EUR k |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COD exit: FEP cash flow (to COD, price and securities at COD) | EUR k |  |  |  | 52789.0246 | -657.1233 | -3612.0548 | -3359.8192 | -17498.125 | -34996.25 | 112912.3969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | COD exit: tax on the gain (price and profit: totals of the cash-flow blocks above) |  | Bora | Iváncsa | Dunaújváros | Total
| CIT on the gain (nil if share deal with participation exemption) | EUR k | 0 | 0 | 0 | 0
| FEP profit, post-tax | EUR k | 34504.3688 | 52789.0246 | 52789.0246 | 140082.418
x | Checks (0 = OK) |  | Bora | Iváncsa | Dunaújváros | Total
| RtB waterfall closes (proceeds = all amounts paid out) | flag | 0 | 0 | 0 | 0
| Claim lines paid before the accrual end year | flag | 0 | 0 | 0 | 0
| Turbine route is EU or CN | flag | 0 | 0 | 0 | 0
| Devex breakdown = DEVEX line | flag | 0 | 0 | 0 | 0
| Construction capex spread in full (timeline = capex) | flag | 0 | 0 | 0 | 0
| Investment cash flows = all-in cost to COD | flag | 0 | 0 | 0 | 0
| Operating life inside the timeline | flag | 0 | 0 | 0 | 0
| Case B waterfall closes (proceeds = all amounts paid out) | flag | 0 | 0 | 0 | 0
| Master check | flag |  |  |  | 0
***END***
Note on G195: Zádeczki Zalán: not correct
Note on J232: Zádeczki Zalán: different exit date

## Inputs
HU wind bids – other inputs (blue) with sources
x | Inputs |  | Bora | Iváncsa | Dunaújváros | Source
Tender and grid (all projects; value in column E)
| FX rate | HUF/EUR | 365 |  |  | Bora Inputs E11; Bid_Cash E45
| Security base: benchmark investment, wind | HUF/MW | 406000000 |  |  | Bora Inputs E75; Bid_Cash E46
| Security base: benchmark investment, BESS | HUF/MWh | 200000000 |  |  | Bora Inputs E89; Bid_Cash E47
| Bid security, share of base | % | 0.5% |  |  | Bora Inputs E76; Bid_Cash E49
| Performance security, minimum share of base | % | 2.5% |  |  | Bora Inputs E77; Bid_Cash E50
| Participation fee per bid | HUF | 3000000 |  |  | Bora Inputs E81; Bid_Cash E48
| TSO connection-request security | HUF/MVA | 4500000 |  |  | Bora Inputs E83; Bid_Cash E51
Per project: fees, devex, dates
| Indirect connection fee | HUF/MVA | 73071306 | 19826680 | 19826680 | Bora Inputs G290; Bid_Cash E52
| Direct connection fee per connection point | HUF | 508345804 | 460000000 | 460000000 | Bora Inputs G291; Bid_Cash E53
| Bids sharing the connection point | count | 2 | 1 | 1 | Bora: 2 bids per point (SPEC §22.2)
| Signing fee and DD | EUR k | 100 | 150 | 150 | Bora E24+E25: 400 × 50/200; Bid_Cash E55
| Devex: grid connection plan and agreement | EUR k | 40.47 | 51.589 | 51.589 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex: land (reservation, purchase, contracting) | EUR k | 150.66 | 192.0532 | 192.0532 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex: permits, zoning, cable rights | EUR k | 333.93 | 425.6759 | 425.6759 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex: studies (wind, environment, ground) | EUR k | 151.36 | 192.9456 | 192.9456 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex: legal, financial and other | EUR k | 37.5 | 47.803 | 47.803 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex: contingency | EUR k | 70.55 | 89.9333 | 89.9333 | Bora share × F25/G25 (Iváncsa, Dunaújváros); Bora: Devex_FEP × 50/100 MVA
| Devex total, Iváncsa and Dunaújváros (allocated pro rata to Bora's categories) | EUR k |  | 1000 | 1000 | User, 27-Oct-26: EUR 1m per project, split as Bora
| EU transformers ≥ 80 % (ÖSZ-9) | flag | 0 | 0 | 0 | Bid_Cash E16; SPEC §23.1
| Signing fee and DD paid | date | 2026-07-31 | 2026-07-31 | 2026-07-31 | Bora Inputs E27; Bid_Cash E34
| Bid submission: fee paid, bid security posted | date | 2026-10-30 | 2026-10-30 | 2026-10-30 | Bora Inputs E95; Bid_Cash E35
| Performance security posted | date | 2027-01-15 | 2027-01-15 | 2027-01-15 | Bora Deposits K10 (E96 + 17 d); Bid_Cash E36
| TSO security paid | date | 2027-01-15 | 2027-01-15 | 2027-01-15 | Bora Inputs E97; Bid_Cash E37
| Connection agreement (HCSSZ): fees paid | date | 2028-10-01 | 2028-10-01 | 2028-10-01 | Bora Inputs E99; Bid_Cash E39
| Devex average payment date | date | 2027-12-31 | 2027-12-31 | 2027-12-31 | Bora Devex_FEP, amount-weighted; Bid_Cash 'continuous'
| Notice to proceed | date | 2029-06-30 | 2029-06-30 | 2029-06-30 | Bora Inputs E154; Bid_Cash E40
| COD | date | 2031-06-30 | 2031-06-30 | 2031-06-30 | Bora Inputs E155; Bid_Cash E41
| Performance security released | date | 2033-03-31 | 2033-03-31 | 2033-03-31 | Bid_Cash E42 (Kiírás XII.13, estimate)
| DSA accrual start | date | 2026-10-30 | 2026-10-30 | 2026-10-30 | Bora Inputs E70; others: signing (DSA off)
RtB exit terms (all projects; value in column E)
| Claim rate, cash lines (incl. cash-posted securities) | % | 12% |  |  | Devex file V18; SPEC §21.1
| Claim rate, devex | % | 20% |  |  | Devex file V19
| Devex minimum return multiple | x | 2 |  |  | Devex file V20
| Interest freeze date | date | 2029-06-30 |  |  | Devex file V24
| Sale date (RtB exit) | date | 2029-09-30 |  |  | Bora Inputs E58; SPEC §21.1
| Sale costs per project | EUR k | 250 |  |  | SPEC §21.1
| Developer success fee (on committed MW, 30/360) | EUR k/MW/yr | 2.5 |  |  | Bora Inputs E36
| Developer success fee cap | EUR k/MW | 10 |  |  | Bora Inputs E37
| Corporate income tax on exit gains | % | 15% |  |  | SPEC §22.2 (exit gains only)
| Share deal, participation exemption on the share gain (1 = on); claims taxed as interest | flag | 1
Capex (per MW of wind built unless stated; turbines: case table on the Dashboard)
| Turbine installation and erection | EUR k/MW | 80 |  |  | Bora Inputs G163
| Foundations | EUR k/MW | 90 |  |  | Bora Inputs G164
| Balance of plant – civil | EUR k/MW | 70 |  |  | Bora Inputs G165
| Balance of plant – electrical | EUR k/MW | 60 |  |  | Bora Inputs G166
| Owner's costs, engineering, PM, construction insurance | EUR k/MW | 40 |  |  | Bora Inputs G169
| Land purchase and easements | EUR k/MW | 15 |  |  | Bora Inputs G170
| On-site substation and 132 kV bay (lump sum) | EUR k | 12000 |  |  | Bora Inputs G167
| Source basis of the lump sums | MVA | 200 |  |  | Bora Inputs E305
| Capex contingency (not on BESS) | % | 5% |  |  | Bora Inputs G173
| BESS capex | EUR k/MWh | 100 |  |  | CLAUDE.md standing assumption, 15-Oct-26
Generation (hours and PPA price: case table on the Dashboard)
| Curtailment | % | 2% |  |  | Bora Inputs G183
| Clipping | % | 4% |  |  | Bora Dash_Clip_Override (user, 26-Oct-26)
| Degradation | % p.a. | 0.3% |  |  | Bora Inputs G184
| PPA escalation | % p.a. | 1% |  |  | Bora Inputs G194
Opex (COD-year prices; O&M contract: case table on the Dashboard)
| Balance of plant maintenance | EUR k/MW/yr | 3 |  |  | Bora Inputs G204
| Land lease | EUR k/MW/yr | 3 |  |  | Bora Inputs G205
| Operational insurance | EUR k/MW/yr | 2.5 |  |  | Bora Inputs G206
| Asset and commercial management | EUR k/MW/yr | 1.5 |  |  | Bora Inputs G207
| Property tax | EUR k/MW/yr | 3 |  |  | Bora Inputs G208
| Administration, audit, compliance (at the source basis) | EUR k/yr | 150 |  |  | Bora Inputs G209
| Balancing cost | EUR/MWh | 4 |  |  | Bora Inputs G196
| Grid use-of-system charges | EUR/MWh | 1 |  |  | Bora Inputs G197
| MEKH supervisory fee | % of rev. | 0.1% |  |  | Bora Inputs G198
| HIPA local business tax | % of rev. | 2% |  |  | Bora Inputs G212
| Opex contingency (not on community, HIPA) | % | 5% |  |  | Bora Inputs G210
| Opex escalation | % p.a. | 2.5% |  |  | Bora Inputs G211
Valuation, timeline and constants
| Operating life from COD | years | 30 |  |  | Bora Inputs G157
| Discount rate (buyer's pre-tax return at COD) | % | 8% |  |  | Bora Inputs G226
| First year of the annual timeline | year | 2026 |  |  | Year of the first signing
| Thousand | x | 1000 |  |  | Constant
| Days in a year (act/365) | days | 365 |  |  | Constant
| Months in a year | months | 12 |  |  | Constant
| Check tolerance | EUR k | 0.001 |  |  | Constant
x | Band tables for the points (ÖSZ, Kiírás Annex 4) – expand the group |  | Values →
| Osz1_LB |  | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50
| Osz1_Incl |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| Osz1_Pts |  | 0 | 10 | 20 | 30 | 40 | 55 | 70 | 80 | 90 | 100
| Osz2_LB |  | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3
| Osz2_Incl |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| Osz2_Pts |  | 0 | 5 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
| Osz3_LB |  | 0.02 | 0.05 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4 | 0.5
| Osz3_Incl |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
| Osz3_Pts |  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
| Osz6_LB |  | 1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
| Osz6_Incl |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Osz6_Pts |  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
| Osz5_Pts |  | 0: 100
| Osz7_Pts |  | 0: 100
| Osz8_Pts |  | 0: 100
| Osz9a_Pts |  | 0: 80
| Osz9b_Pts |  | 0: 20
| Osz1_W |  | 0: 0.2
| Osz2_W |  | 0: 0.15
| Osz3_W |  | 0: 0.1
| Osz4_W |  | 0: 0.15
| Osz5_W |  | 0: 0.05
| Osz6_W |  | 0: 0.05
| Osz7_W |  | 0: 0.1
| Osz8_W |  | 0: 0.05
| Osz9_W |  | 0: 0.15
***END***